SB 610 – Draft Water Supply Assessment

For

Project Name

Date Year

Prepared For:

Public Water System/Lead Agency

Street Address

City, California Zip Code

(This page Intentionally left blank)

Project Name

Contents

To properly update automated fields and TOC – Highlight (Select) entire WSA document and Select F9 and then select update entire table for the TOC, list of Figures and list of Tables, when prompted.

Purpose of Water Supply Assessment	7

Project Determination According to SB 610 - Water Supply Assessment	7

Executive Summary	9

Project Description	11

Water Use Efficiency Best Management Practice Incorporated Into Project	11

Additional Project Measures Under Potential Water Curtailment	11

Description of IID Service Area	16

Climate Factors	16

Imperial Valley Historic and Future Land and Water Uses	19

Imperial Integrated Regional Water Management Plan (October 2012)	20

IID Interim Water Supply Policy for Non-Agricultural Projects (September 2009)	23

IID Temporary Land Conversion Fallowing Policy (May 2012)	24

Imperial Irrigation District’s Water Rights8F	25

California Law	25

Law of the River	25

Imperial Irrigation District Water Supply and Demand	35

Water Availability – Normal Year	35

Expected Water Availability – Single Dry and Multiple Dry Years	37

Water Management under a Suspended Inadvertent Overrun Payback Policy (IOPP)	37

Equitable Distribution Plan (EDP) History	40

Projected Water Supplies	41

Project Water Availability for a 20-Year Period to Meet Projected Demands	42

Expected Water Demands for the Proposed Project	45

IID’s Ability to Meet Demands With Water Supply	46

Expanding Water Supply Portfolio	49

IID Near Term Water Supply Projections	51

Public water system or lead agency (Lead Agency) Findings	53

Assessment Conclusion	55

Resources and References	56

Attachments	58

Figures

Figure 1. Project Site Regional Location	13

Figure 2. Aerial Map of Project Vicinity	14

Figure 3. Project Layout/Site Plan	15

Figure 4. IID Imperial Unit Boundary and Canal Network	17

Figure 5. Major Colorado River Reservoir Storage Facilities and Basin Location Map	31

Figure 6. Lake Mead Water Elevation Levels 04.06.25 visit <http://www.arachnoid.com/NaturalResources/index.html>	34

Figure 7. Lake Mead Schematic (June 15, 2022)	39

Tables

Table 1. Climate Characteristics, Imperial, CA 100- Year Record, 1925-2024	18

Table 2. IID Areawide Annual Precipitation (In). (1990-2024)	18

Table 3. Monthly Mean Temperature (°F)- Imperial, CA 10- Year, 30- Year & 100- Year (2015-2024,1995-2024,1925-2024)	18

Table 4. Monthly Mean Rainfall (In) – Imperial, CA 10-Year, 30-Year & 100-Year (2015-2024, 1995-2024, 1925-2024)	19

Table 5. Non-Agricultural Water Demand within IID Water Service Area, 2015-2055 (KAFY)	21

Table 6 Historic and forecasted Agricultural Water Consumptive Use and Delivery Demand within IID Water Service Area, 2015-2055 (KAFY)	22

Table 7. IID System Operations Consumptive Use within IID Water Service Area and from AAC at Mesa Lateral 5 to Imperial Dam, (KAF), 2020	23

Table 8. Interim Water Supply Policy 2024 Annual Non-Agricultural Water Supply Development Fee Schedule	23

Table 9. CRWDA Annual 4.4 MAF Apportionment (Priorities 1 to 4) for California Agencies (AFY)	29

Table 10. Unregulated Inflow to Lake Powell, Percent of Historic Average, 2000-2024	32

Table 11. IID Historic and Forecast Net Consumptive Use for Normal Year, Single-Dry Year and Multiple-Dry Year Water Supply, 2003-2037, et seq. (CRWDA Exhibit B)	36

Table 12. IID Annual Rainfall (In), Net Consumptive Use and Underrun/Overrun Amounts (AF), 1988-2024	38

Table 13.  IID Inadvertent Overrun Payback to the Colorado River under the IOPP, 2013-2024	39

Table 14. Project Operational Water Uses (AFY)	45

Table 15. Ten-Year Historic Delivery (AFY), 2014-2024	45

Table 16. IID System Operations Consumptive Use within IID Water Service Area and from AAC at Mesa Lateral 5 to Imperial Dam, (KAF), 2024	46

Table 17. IID Historic and Forecasted Consumptive Use vs CRWDA Exhibit B IID Net Available Consumptive Use, volumes at Imperial Dam (KAFY), 2015-2055 Next Update in 2026 thru 2025	47

Table 18. 2020 Approved Water Order, Actual CU (Decree Accounting Report) and IID Underrun, KAF at Imperial Dam	47

Table 19. IID Capital Project Alternatives and Cost (May 2009 price levels $)	51

Attachments

Attachment A: IID Interim Water Supply Policy for Non-Agricultural Projects

Attachment B: IID Equitable Distribution Plan

Acronyms

AF		Acre-Foot or Acre-Feet

AFY		Acre-Feet per Year

AOP		Annual Operations Plan

CAP		Central Arizona Project

CDCR 		California Department of Corrections and Rehabilitation

CDPH 		California Department of Public Health

CDWR		California Department of Water Resources

CEQA 		California Environmental Quality Act

CRWDA		Colorado River Water Delivery Agreement

CUP		Conditional Use Permit

CVWD		Coachella Valley Water District

EDP		IID Equitable Distribution Plan

EIS		Environmental Impact Statement

ICPDS 		Imperial County Planning and Development Services

ICS		Intentionally Created Surplus

IID		Imperial Irrigation District

IOPP		Inadvertent Overrun Payback Policy

ISG		Interim Surplus Guidelines

IRWMP		Integrated Regional Water Management Plan

IWSP		Interim Water Supply Policy

KAF		Thousand Acre Feet

LAFCO		Local Agency Formation Commission

LCR		Lower Colorado Region

MCI		Municipal, commercial, industrial

MGD		Million Gallons per Day

MW		Megawatt

MWD		Metropolitan Water District of Southern California

NAF		Naval Air Facility

PVID		Palo Verde Irrigation District

QSA/		Quantification Settlement Agreement and Related Agreements

Transfer Agreements

SB		Senate Bill

SDCWA		San Diego County Water Authority

SNWA		Southern Nevada Water Authority

TLCFP		Temporary Land Conversion Fallowing Policy

USBR		United States Bureau of Reclamation

USEPA		United States Environmental Protection Agency

WSA		Water Supply Assessment

# Purpose of Water Supply Assessment

This Water Supply Assessment (WSA) was prepared for the Public water system or lead agency (Lead Agency) by Preparer, regarding Project/Facility  proposed by Owner (the “Applicant”). This study is a requirement of California law, specifically Senate Bill 610 (referred to as SB 610). SB 610 is an act that amended Section 21151.9 of the Public Resources Code, and Sections 10631, 10656, 10910, 10911, 10912, and 10915 of the Water Code. SB 221 is an act that amended Section 11010 of the Business and Professions Code, while amending Section 65867.5 and adding Sections 66455.3 and 66473.7 to the Government Code. SB 610 was approved by the Governor and filed with the Secretary of State on October 9, 2001, and became effective January 1, 2002.F  SB 610 requires that a lead agency determine that a project (as defined in CWC Section 10912) that is subject to the California Environmental Quality Act (CEQA), to identify any public water system that may supply water for the project and to request the applicants to prepare a specified water supply assessment.

This study has been prepared pursuant to the requirements of CWC Section 10910, as amended by SB 610 (Costa, Chapter 643, Stats. 2001).  The purpose of SB 610 is to advance water supply planning efforts in the State of California; therefore, SB 610 requires the Lead Agency, to identify any public water system or water purveyor that may supply water for the project and to prepare the WSA after a consultation. Once the water supply system is identified and water usage is established for construction and operations for the life of the project, the lead agency is then able to coordinate with the local water supplier and make informed land use decisions to help provide California’s cities, farms and rural communities with adequate water supplies.

Under SB 610, water supply assessments must be furnished to local governments for inclusion in any environmental documentation for certain projects (as defined in California Water Code (CWC) Section 10912 [a]) that are subject to the California Environmental Quality Act (CEQA). Due to increased water demands statewide, this water bill seeks to improve the link between information on water availability and certain land use decisions made by cities and counties. This bill takes a significant step toward managing the demand placed on California’s water supply. It provides further regulations and incentives to preserve and protect future water needs. Ultimately, this bill will coordinate local water supply and land use decisions to help provide California’s cities, farms, rural communities and industrial developments with adequate long-term water supplies. The WSA will allow the lead agency to determine whether water supplies will be sufficient to satisfy the demands of the project, in addition to existing and planned future uses.

## Project Determination According to SB 610 - Water Supply Assessment

With the introduction of SB 610, any project under the California Environmental Quality Act (CEQA) shall provide a Water Supply Assessment if the project meets the definition of CWC § 10912.   Water Code section 10911(c) requires that the lead agency “determine, based on the entire record, whether projected water supplies will be sufficient to satisfy the demands of the project, in addition to existing and planned future uses.”  Specifically, Water Code section 10910(c)(3) states that “If the projected water demand associated with the proposed project was not accounted for in the most recently adopted urban water management plan, or the public water system has no urban water management plan, the water supply assessment for the project shall include a discussion with regard to whether the total projected water supplies, determined to be available by the city or county for the project during normal, single dry, and multiple dry water years during a 20 year projection, will meet the projected water demand associated with the proposed project, in addition to the public water system’s existing and planned future uses, including agricultural and manufacturing uses.”

After review of CWC § 10912a, and Section 10912 (a)(5)(B), it was determined that the proposed Project/Facility is deemed a project as it is considered a(n) industrial/residential/ commercial/. . .  use that will occupy more than 40 acres/have more than 500 residences/. . . (provide actual number of acres/ residences/ . . ..).

# Executive Summary

The Public water system or lead agency  in coordination with Imperial Irrigation District  has requested a WSA as part of the environmental review for the proposed Project/facility Project (“Project”).  This study is intended for use by Public water system or lead agency and Imperial Irrigation District in its evaluation of water supplies for existing and future land uses. The evaluation examines the following water elements:

Water availability during a normal year

Water availability during a single dry year, and multiple dry water years

Water availability during a 20-year projection to meet existing demands

Expected 20-year water demands of the Project

Reasonably foreseeable planned future water demands to be served by the Imperial Irrigation District under Equitable Distribution Plan apportionment

The proposed Project site is located at Describe project location in relation to towns or other landmark(s) within IID’s Imperial Unit and district boundary and as such is eligible to receive water service. Water infrastructure capacity is not a part of this assessment. Project/facility is responsible for contacting IID Water Engineering Department for an infrastructure capacity assessment.   Any infrastructure improvements, costs and environmental compliance associated with improvements to accommodate the Project’s water supply or for the conservation of the water supply needed for the Project is the sole responsibility of Project/facility

IID adopted an Interim Water Supply Policy (IWSP) in 2009 for new Non-Agricultural Projects, under which water supplies may be contracted to serve new developments within IID’s water service area. For applications processed under the IWSP, applicants shall be required to pay a processing fee and, after IID board approval of the corresponding water supply agreement, will be required to pay a reservation fee(s) and annual water supply development fees. The water supply development fees are collected for the development of water supply projects, such as water conservation projects, water storage projects and/or water augmentation projects.

Under the IWSP, IID may set aside up to 25,000 acre-feet annually (AFY) of IID’s Colorado River water supply to serve new non-agricultural projects with water created from IID efficiency conservation projects and programs. As of January 2025, a balance of 18,620   AFY remain available under the IWSP for new non-agricultural projects, providing a mechanism for the development of reasonably sufficient water supplies for such projects. The proposed Project water demand of approximately XXXXAFY represents XX.X  % of the annual unallocated supply that may be created and set aside for new non-agricultural projects.

The Public water system or lead agency  anticipates non-agricultural project water supply demand within their jurisdiction, as the land use authority, is Choose an item. to exhaust the 18,620   AFY available under the IWSP within the forseeable 20-year planning period. Thus, the proposed Project’s estimated water demand, combined with other development anticipated in the area  is Choose an item. to adversely affect IID’s ability to provide water to other users in IID’s water service area with mitigation is incorporated. This industrial water use project will need to enter into a water supply agreement with IID under which water conservation and/or augmentation commitments will be required of Project/facility.

IID has a proven record of successful development and implementation of water conservation programs and projects in response to fully executed water supply agreements with public and private entities for water conservation efforts that are fully funded by the party requesting the conserved water supply. The District will continue to meet all existing and new water supply and conservation agreement obligations consistent with the terms and conditions set forth in those agreements, including any environmental requirements and cost provisions.

In efforts address any potential water supply/demand imbalances, IID adopted a revised Equitable Distribution Plan for the apportionment of water to all water user categories including for commercial/industrial water uses such as the proposed Project.  Implementation of the EDP initiates every January 1st, and continues throughout the year unless the IID Board of Directors takes specific action. The latest revisions to the EDP were made in July of 2023 (IID EDP). Under the EDP, water supplies may be restricted to  project/facility as described under the IID Water Supply & Demand Section, Equitable Distribution Plan sub-section of this WSA.

In June 2022, U.S. Bureau of Reclamation Commissioner Camille Touton testified before a congressional committee and called for the Basin states to develop a plan before the end of the year to reduce demands by 2-4 million acre-feet per year, through 2026, or the Secretary of the Interior would take regulatory action to force these reductions in order to protect the Colorado River system in light of the prolonged drought conditions.

In 2023, California submitted a voluntary conservation proposal to Reclamation to conserve up to 400,000 AFY through 2026 as their commitment to Lake Mead and the Colorado River System. Post 2026, new operating guidelines would come into effect, potentially affecting all River contractors. IID is working diligently with federal agencies and Colorado River contractors to minimize impacts to the local community while simultaneously ramping up water conservation programs in an effort to augment local water supplies, to some degree, should Basin-wide cuts be unavoidable. In the interim,  IID has entered into a System Conservation Implementation Agreement (SCIA) with the U.S. Bureau of Reclamation for its share of the California proposal under a voluntary plan that would not exceed 300,000 AFY (through 2026) and result in compensation from Reclamation for local water conservation efforts.

IID’s Lake Mead contributions for 2022, 2023 were 25,000 AF and 56,111 AF, respectively, which were over and above IID’s transfer obligation schedule. For 2024 IID conserved an estimated 207,640 AF for Lake Mead above its transfer obligation schedule. Provisional conservation numbers indicate IID saved a total of 673,340 AF in 2024 for all commitments combined. Consequently, California’s 2024 water use, are the lowest in decades and IID’s, in particular, is the lowest since 1941.  Despite these historic contributions, Lake Mead elevation had increased by only 17 feet by the end of 2024, and continues to operate under shortage conditions.  It is unknown, as of April 2025, what post 2026 conservation measures may need to be considered by the District.  Nonetheless, IID’s conservation capacity remains reliable.

# Project Description

Project Developer  is proposing to build, operate and maintain a type of facility on approximately XX.X acres of private lands in the Imperial Valley in Imperial County.  More specifically, the Project is located at Describe project location in relation to towns or other landmark(s). Provide project parcel description. Please refer to Figure 1 for the Project’s Regional Location (Figure 1.  Site Regional Location), and Figure 2 for the Project Site and Vicinity (Figure 2 Aerial View of Project Site and Vicinity)

In general, the project can be described as follows: Describe proposed project components/layout. Please refer to Figure 3 for the conceptual project layout and tentative site plan. (Figure 3. Project Layout/Site Plan).

The type of facility involves a CUP/Planning Application/. . . that will allow for describe project/facility & output from Lead Agency.

Potable water services for the Project will be provided by public water system.  Indicate whether domestic water is needed; & if so, whether domestic water delivery infrastructure is currently available at the project site.

The proposed Project owner will need to contract with IID to deliver up to XXXX AFY of untreated water, via the Canal/Lateral. The proposed Project is anticipated to use approximately XXXX  AFY of water for type(s) of use , including XXXX AFY necessary for periodic dust control while in operation.

This WSA does not include an analysis of water supply for describe ancillary use/s that are not covered (e.g., crop production for ethanol production), as appropriate; or omit this paragraph.

## Water Use Efficiency Best Management Practice Incorporated Into Project

The Project proposes to incorporate the following Best Management Practices for water use efficiency under the requested operational water supply amount of XXXX AFY:  Click or tap here to enter text.

## Additional Project Measures Under Potential Water Curtailment

Should reductions to IID’s water supply be ordered or directed from a governmental authority having appropriate jurisdiction, Project/Facility  may be required to reduce its water supply demand by a proportionate reduction of the total volume of water available to IID. Additonal, operational changes that may be implemented by the Project under these unpredictable conditions are as follows: Click or tap here to enter text.

Incorporation of these additional measures is anticipated to conserve an estimated XXXX AFY of water supply demand if operating under curtailment which is approximately XXXX  percent of overall water supply demand for the Project.

Regional Location at near County Level, identifying nearest community, major roadways, etc

Figure 1. Project Site Regional Location

Aerial View Map-Delineating Subject Parcel(s) (and all affected parcels) in relation to surrounding land uses

Figure 2. Aerial Map of Project Vicinity

Site Plan at Project Level-Identifying structures, roadways, drains, canals, etc

Figure 3. Project Layout/Site Plan

## Description of IID Service Area

The proposed Project site is located in Imperial County in the southeastern corner of California. The County is comprised of approximately 4,597 square miles or 2,942,080 acres.2F  Imperial County is bordered by San Diego County to the west, Riverside County to the north, the Colorado River/Arizona boundary to the east, and 84 miles of International Boundary with the Republic of Mexico to the south.  Approximately fifty percent of Imperial County is undeveloped land under federal ownership and jurisdiction. The Salton Sea accounts for approximately 11 percent of Imperial County’s surface area. In 2024, sixteen percent (16%)  of the area was in irrigated agriculture (468,530 acres), including 14,676 acres of the Yuma Project, some 35 sections or 5,568 acres served by Palo Verde Irrigation District (PVID), and 448,286 net acres served by IID.3F,  4

The area primarily served by IID is located in the Imperial Valley, which is generally contiguous with IID’s Imperial Unit, lies south of the Salton Sea, north of the U.S./Mexico International Border, and generally in the 699,132 acre area between IID’s Westside Main and East Highline Canals. In 2024, IID delivered untreated water to 497,241 acres, predominantly in the Imperial Valley, along with small areas of East and West Mesa land, including non-agricultural use, but excluding temporarily fallowed land.

The developed area consists of seven incorporated cities (Brawley, Calexico, Calipatria, El Centro, Holtville, Imperial and Westmorland), three unincorporated communities (Heber, Niland and Seeley), and three institutions (Naval Air Facility [NAF] El Centro, Calipatria CDCR, and Centinela CDCR) and supporting facilities. Figure 4 provides a map of the IID canal network, as well as cities, communities and main canals.

## Climate Factors

Imperial Valley, located in the Northern Sonoran Desert, which has a subtropical desert climate is characterized by hot, dry summers and mild winters. Clear and sunny conditions typically prevail, and frost is rare. The region receives 85 to 90 percent of possible sunshine each year, the highest in the United States. Winter temperatures are mild rarely dropping below 32°F, but summer temperatures are very hot, with more than 100 days over 100°F each year. The remainder of the year has a relatively mild climate with temperatures averaging in the mid-70s.

The 100-year average climate characteristics are provided in Table 1. Climate Characteristics, Imperial, CA 100- Year Record, 1925-2024. Rainfall contributes around 50,000 AF of effective agricultural water per inch of rain. Most rainfall occurs from November through March; however, summer storms can be significant in some years.  Annual areawide rainfall is shown in Table 2. IID Areawide Annual Precipitation (In). (1990-2024). The thirty-year, 1995-2024, average annual air temperature was 74.13°F, and average annual rainfall was 2.40 inches, see Table 4 and Table 3.   This record shows that while average annual rainfall has fluctuated, the 10-year average temperatures have slightly increased over the 30-year averages.

Figure 4. IID Imperial Unit Boundary and Canal Network

Table 1. Climate Characteristics, Imperial, CA 100- Year Record, 1925-2024

| Climate Characteristic | Annual Value |  |
| --- | --- | --- |
| Average Precipitation (100-year record, 1925-2024) | 2.75 inches (In) |  |
| Minimum Temperature, Jan 1937 | 16 oF |  |
| Maximum Temperature, July 1995 | 121 oF |  |
| Average Minimum Temperature, 1925-2024 | 48.5 oF |  |
| Average Maximum Temperature, 1925-2024 | 98.4 oF |  |
| Average Temperature, 1925-2024 | 73.2 oF |  |
| Source: IID Imperial Weather Station Record |  |  |  |

Table 2. IID Areawide Annual Precipitation (In). (1990-2024)

| 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 |
| --- | --- | --- | --- | --- | --- | --- |
| 1.646 | 3.347 | 4.939 | 2.784 | 1.775 | 1.251 | 0.685 |
| 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 |
| 1.328 | 2.604 | 1.399 | 0.612 | 0.516 | 0.266 | 2.402 |
| 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 |
| 4.116 | 4.140 | 0.410 | 1.331 | 1.301 | 0.619 | 3.907 |
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 |
| 2.261 | 2.752 | 2.772 | 1.103 | 2.000 | 1.867 | 2.183 |
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 |
| 1.305 | 3.017 | 2.685 | 1.688 | 1.265 | 1.404 | 1.815 |

Source: Computation based on polygon average of CIMIS as station came online in the WISKI.

Notable from Table 2 (above) and Table 3(below) is that while average annual rainfall measured at IID Headquarters in Imperial, California, has been decreasing, monthly average temperatures are remarkably consistent.

Table 3. Monthly Mean Temperature (°F)- Imperial, CA 10- Year, 30- Year & 100- Year (2015-2024,1995-2024,1925-2024)

|  | Jan |  |  | Feb |  |  | Mar |  |  | Apr |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Max | Min | Avg | Max | Min | Avg | Max | Min | Avg | Max | Min | Avg |
| 10-year | 81 | 34 | 58 | 85 | 36 | 51 | 92 | 42 | 67 | 101 | 49 | 74 |
| 30-year | 81 | 34 | 57 | 84 | 36 | 60 | 93 | 41 | 66 | 100 | 47 | 72 |
| 100-year | 80 | 32 | 56 | 84 | 35 | 59 | 91 | 40 | 65 | 99 | 46 | 71 |
|  | May |  |  | Jun |  |  | Jul |  |  | Aug |  |  |
|  | Max | Min | Avg | Max | Min | Avg | Max | Min | Avg | Max | Min | Avg |
| 10-year | 104 | 54 | 77 | 115 | 62 | 89 | 116 | 72 | 95 | 115 | 73 | 94 |
| 30-year | 106 | 54 | 78 | 113 | 60 | 87 | 115 | 69 | 93 | 114 | 70 | 93 |
| 100-year | 105 | 53 | 78 | 113 | 59 | 86 | 114 | 68 | 92 | 113 | 68 | 91 |
|  | Sep |  |  | Oct |  |  | Nov |  |  | Dec |  |  |
|  | Max | Min | Avg | Max | Min | Avg | Max | Min | Avg | Max | Min | Avg |
| 10-year | 112 | 65 | 88 | 103 | 53 | 78 | 90 | 40 | 65 | 82 | 36 | 58 |
| 30-year | 111 | 63 | 88 | 102 | 51 | 76 | 90 | 39 | 64 | 81 | 33 | 56 |
| 100-year | 111 | 61 | 86 | 102 | 49 | 75 | 89 | 38 | 63 | 80 | 32 | 56 |

Source: IID Imperial Headquarters Station Record (Data provided by IID staff)

Table 4. Monthly Mean Rainfall (In) – Imperial, CA 10-Year, 30-Year & 100-Year (2015-2024, 1995-2024, 1925-2024)

|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 10-year | 0.58 | 0.17 | 0.27 | 0.11 | 0.08 | 0.01 | 0.07 | 0.16 | 0.34 | 0.12 | 0.17 | 0.32 | 2.38 |
| 30-year | 0.43 | 0.35 | 0.23 | 0.09 | 0.05 | 0.00 | 0.13 | 0.23 | 0.31 | 0.16 | 0.19 | 0.31 | 2.40 |
| 100-year | 0.38 | 0.36 | 0.24 | 0.10 | 0.03 | 0.00 | 0.10 | 0.30 | 0.35 | 0.24 | 0.19 | 0.47 | 2.75 |

Source: IID WIS: CIMIS stations polygon calculation (Data provided by IID staff).

Imperial Valley depends on the Colorado River for its water, which IID transports, untreated, to delivery gates for agricultural, municipal, industrial (including geothermal and solar energy), environmental (managed marsh), recreational (lakes), and other non-agricultural uses. IID supplies the cities, communities, institutions and Golden State Water (which includes all or portions Calipatria, Niland, and some land adjacent within Imperial County territory) with untreated water that they treat to meet state and federal drinking water guidelines before distribution to their customers. Industries outside the municipal areas treat the water to required standards of their industry. To comply with U.S. Environmental Protection Agency (USEPA) requirements and avoid termination of canal water service, residents in the IID water service area who do not receive treated water service must obtain alternative water service for drinking and cooking from a state-approved provider. To avoid penalties that could exceed $25,000 a day, IID strictly enforces this rule. The IID Water Department tracks nearly 3,200 raw water service accounts required by the State Water Resources Control Board’s Department of Drinking Water to have alternate state approved drinking water service.  IID maintains a small-acreage pipe and drinking water database and provides an annual compliance update to the Department of Drinking Water.

## Imperial Valley Historic and Future Land and Water Uses

Agricultural development in the Imperial Valley began at the turn of the twentieth century. In 2023, gross agricultural production for Imperial County was valued at $2,692,716,000, of which approximately $2.6 billion was produced in the IID water service area. While the agriculture-based economy is expected to continue, land use is projected to change somewhat over the years as industrial and/or alternative energy development and urbanization occur in rural areas and in areas adjacent to existing urban centers, respectively.

- As and where appropriate, may want to include a sentence or two in this section along the lines of, The Project name/acronym would provide project output and benefit to the region/State/etc..

Imperial Valley’s economy is gradually diversifying. Agriculture will likely continue to be the primary industry within the valley; however, two principal factors anticipated to reduce crop acreage are renewable energy (geothermal and solar) and urban development. Over the next twenty years, urbanization is expected to slightly decrease agriculture land use to provide space for an increase in residential, commercial and industrial uses. The transition from agricultural land use typically results in a net decrease in water demand for municipal, commercial, and solar energy development; and a net increase in water demand for geothermal energy development. Local energy resources include geothermal, wind, biomass and solar. The County General Plan provides for development of energy production centers or energy parks within Imperial County. ⁸ Alternative energy facilities will help California meet its statutory and regulatory goals for increasing renewable power generation and use and decrease water demands in Imperial County.

The IID Board has adopted the following policies and programs to address how to accommodate water demands under the terms of the QSA/ Transfer Agreements and minimize potential negative impacts on agricultural water uses:

Imperial Integrated Regional Water Management Plan:  adopted by the board on December 18, 2012, and by the County, the City of Imperial, to meet the basic requirement of California Department of Water Resources (CDWR) for an IRWM plan. In all, 14 local agencies adopted the 2012 Imperial IRWMP.

Interim Water Supply Policy for Non-Agricultural Projects: adopted by the board on September 29, 2009, to ensure sufficient water will be available for new development, in particular, anticipated renewable energy projects until the board selects and implements capital development projects such as those considered in the Imperial IRWMP.

Temporary Land Conversion Fallowing Policy: adopted by the board on May 8, 2012, and revised on March 29, 2016, to provide a framework for a temporary, long-term fallowing program to work in concert with the IWSP and IID’s coordinated land use/water supply strategy.

Equitable Distribution Plan: final adoption by the board on July 26, 2023, to provide a mechanism for IID to administer apportionment of the district’s quantified annual supply of Colorado River water.

In addition, water users within the IID service area are subject to the statewide requirement of reasonable and beneficial use of water under the California Constitution, Article X, section 2.

## Imperial Integrated Regional Water Management Plan (October 2012)

The Imperial IRWMP serves as the governing document for regional water planning to meet present and future water resource needs and demands by addressing such issues as additional water supply options, demand management and determination and prioritization of uses and classes of service provided.  In November 2012, the Imperial County Board of Supervisors approved the Imperial IRWMP, and the City of Imperial City Council and the IID Board of Directors approved it in December 2012. Approval by these three (3) stakeholders met the basic requirement of California Department of Water Resources (CDWR) for an IRWMP at the time. Through the IRWMP process, IID presented to the region stakeholders options in the event long-term water supply augmentation is needed, such as water storage and banking, recycling of municipal wastewater, and desalination of brackish water.  As discussed herein, long term water supply augmentation is not anticipated to be necessary to meet proposed Project demands.

Chapter 5 of the 2012 Imperial IRWMP addresses water supplies (Colorado River and groundwater), demand, baseline and forecasted through 2050; and IID water budget. Chapter 12 addresses projects, programs and policies, and funding alternatives. Chapter 12 of the IRMWP lists, and Appendix N details, a set of capital projects that IID might pursue, including the amount of water that might result (AFY) and cost ($/AF) if necessary. These also highlight potential capital improvement projects that could be implemented in the future.

Imperial Valley historic 2015 and 2020 and the forecasted future for 2025 to 2055 non-agricultural water demand, are provided in Table 5 in five-year increments. Total water demand for non-agricultural uses is projected to be 201.4 KAF in the year 2055. This is a forecasted increase in the use of non-agricultural water of 94 KAF from 107.4 KAF for the period of 2015 to 2055. These values were modified from Chapter 5 of the Imperial IRWMP to reflect updated conditions from the IID Provisional Water Balance for calendar year 2015 and 2020. Due to the recession in 2009, state policies affecting municipal water use in relation to the drought and other factors, non-agricultural growth projections have lessened since the 2012 Imperial IRWMP. Projections in Table 5 have been adjusted (reduced by 3% for Municipal and Industrial uses and applied a flat 0.5 AF increase for Recreation use) to reflect IID 2015 and 2020 delivery data adjustments.  Even with these adjustments, the Table 5 projections for non-agricultural water demand within the IID water service area continue to reflect an unlikely aggressive growth.

Table 5. Non-Agricultural Water Demand within IID Water Service Area, 2015-2055 (KAFY)

|  | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Municipal | 30.0 | 30.9 | 36.8 | 39.8 | 41.5 | 46.3 | 51.7 | 57.8 | 61.9 |
| Industrial | 26.4 | 28.7 | 39.8 | 46.5 | 53.2 | 59.9 | 66.6 | 73.3 | 80.0 |
| Other | 5.5 | 5.5 | 5.5 | 5.5 | 5.5 | 5.5 | 5.5 | 5.5 | 5.5 |
| Feedlots/Dairies | 17.8 | 19.0 | 20.0 | 20.0 | 20.0 | 20.0 | 20.0 | 20.0 | 20.0 |
| Envr Resources | 8.3 | 9.5 | 12.0 | 12.0 | 12.0 | 12.0 | 12.0 | 12.0 | 12.0 |
| Recreation | 7.4 | 9.5 | 10.0 | 10.0 | 10.0 | 10.0 | 10.0 | 10.0 | 10.0 |
| Service Pipes | 12.0 | 12.0 | 12.0 | 12.0 | 12.0 | 12.0 | 12.0 | 12.0 | 12.0 |
| Total Non Ag | 107.4 | 115.1 | 136.1 | 145.8 | 154.2 | 165.7 | 177.8 | 190.6 | 201.4 |

Notes: 2015 non-agricultural water demands are from IID 2015 Provisional Water Balance rerun 01/25/2021; 2020-2055 demands are modified from 2012 Imperial IRWMP Chapter 5, Table 5-22 p 5-50 based on IID 2015 Provisional Water Balance; 2020 non-agricultural water demands are from IID 2020 Provisional Water Balance rerun on 01/31/2022; 2025-2055 demands are modified from 2012 Imperial IRWMP Chapter 5, Table 5-22 p 5-50 based on IID 2020 Provisional Water Balance.   Industrial Demand includes geothermal, but not solar, energy production.

Agricultural evapotranspiration (ET) demand of approximately 1,476.4 KAF in 2015, decreased in 2020 to approximately 1,442.2 KAF.  The termination of fallowing programs provided 103.5 KAF of water for Salton Sea mitigation in 2017. Forecasted agricultural ET remains constant, as reductions in water use are to come from efficiency conservation not reduction in agricultural production.  Market forces and other factors may impact forecasted future water demand.

Table 6 provides the 2015 and 2020 historic and 2025-2055 forecasted agricultural consumptive use and delivery demand within the IID water service area. When accounting for agriculture ET, tailwater and tilewater, total agricultural consumptive use (CU) demand ranges from 2,157.9 KAF in 2015 to 2,208.5 KAF in 2055. Forecasted total agricultural delivery demand is around 1 KAFY higher than the CU demand, ranging from 2,158.9 KAF in 2015 to 2,209.5 KAF in 2055.

Table 6 Historic and forecasted Agricultural Water Consumptive Use and Delivery Demand within IID Water Service Area, 2015-2055 (KAFY)

|  | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ag ET from Delivered & Stored Soil Water | 1,476.4 | 1,442.2 | 1,567.5 | 1,567.5 | 1,567.5 | 1,567.5 | 1,567.5 | 1,567.5 | 1,567.5 |
| Ag Tailwater to Salton Sea | 282.9 | 312.9 | 268.0 | 218.0 | 218.0 | 218.0 | 218.0 | 218.0 | 218.0 |
| Ag Tilewater to Salton Sea | 398.6 | 410.2 | 423.0 | 423.0 | 423.0 | 423.0 | 423.0 | 423.0 | 423.0 |
| Total Ag CU Demand | 2,157.9 | 2,165.4 | 2,258.5 | 2,208.5 | 2,208.5 | 2,208.5 | 2,208.5 | 2,208.5 | 2,208.5 |
| Subsurface Flow to Salton Sea | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 |
| Total Ag Delivery Demand | 2,158.9 | 2,166.4 | 2,259.5 | 2,209.5 | 2,209.5 | 2,209.5 | 2,209.5 | 2,209.5 | 2,209.5 |

Notes: 2015 record from IID 2015 Provisional Water Balance rerun 06/28/2019; 2020 record from IID 2020 Provisional Water Balance rerun 01/25/2021;  2020-2055 forecasts from spreadsheet used to develop Figure 19, et seq. in Imperial IRWMP Chapter 5 (Data provided by IID staff). Next Update 2026

In addition to agricultural and non-agricultural water demands, system operation demand must be included to account for operational discharge, main and lateral canal seepage, including seepage along the All-American Canal (AAC); and for AAC seepage, river evaporation and phreatophyte ET from Imperial Dam to IID’s measurement site at AAC Mesa Lateral 5. These system operation demands are shown in Table 7 for 2020. IID measures system operational uses at All-American Canal Station 2900 just upstream of Mesa Lateral 5 Heading. Total system operational use for 2020 was 167.8 KAF, including 10 KAF of LCWSP input, 39 KAF of seepage interception input, and 40 KAF of unaccounted canal water input.

Table 7. IID System Operations Consumptive Use within IID Water Service Area and from AAC at Mesa Lateral 5 to Imperial Dam, (KAF), 2020

| Delivery System Evaporation | 24.4 |
| --- | --- |
| Canal Seepage | 90.8 |
| Main Canal Spill | 10.1 |
| Lateral Spill | 121.5 |
| QSA & IID Seepage Interception | -39.0 |
| Unaccounted Canal Water | -40.0 |
| Total System Operational Use, In valley | 167.8 |
| Imperial Dam to AAC @ Mesa Lat 5 (Dam-Mesa Lat 5)( 2,552,674-2,546,152) | 9.2 |
| LCWSP | -10.0 |
| Total System Operational Use in 2020 | 167.0 |
| Source: 2020 IID Water Balance rerun 01/25/2021 |  |

## IID Interim Water Supply Policy for Non-Agricultural Projects (September 2009)

The IID IWSP provides a mechanism to address water supply requests for new non-agricultural projects being developed within the IID water service area. The IWSP designates up to 25,000 AFY of water to be conserved from IID’s annual Colorado River water supply, consumptive use cap, for new non-agricultural projects.  The IWSP provides a mechanism and process to develop a water supply agreement for any appropriately permitted project, and establishes a framework and set of fees to ensure the supplies used to meet new demands do not adversely affect existing users by funding water conservation or augmentation projects as needed to offset the new demand.

The environmental impacts of conserving up to the 25,000 acre-feet of IWSP water were analyzed in the Imperial Irrigation District Interim Water Supply Policy for Non-Agricultural Projects Negative Declaration, State Clearinghouse No. 2009061103 dated June 25, 2009.  The IID Board adopted this Negative Declaration on September 29, 2009.

Depending on the nature, complexity and water demands of the proposed project, new projects may be charged a one-time Reservation Fee and annual Water Supply Development Fees for the contracted water volume used solely to assist in funding new water supply projects.  The applicability of the fee to certain projects will be determined by IID on a case-by-case basis, depending on the proportion of types of land uses and water demand proposed for a project.  The 2025 IWSP fee schedule is shown in Table 8.

Table 8. Interim Water Supply Policy 2025 Annual Non-Agricultural Water Supply Development Fee Schedule

| Annual Demand (AF) | Reservation Fee ($/AF)* | Development Fee ($/AF)* |
| --- | --- | --- |
| 0-500 | $91.39 | $365.54 |
| 501-1000 | $128.67 | $514.68 |
| 1001-2500 | $161.57 | $646.28 |
| 2501-5000 | $199.59 | $798.34 |

Adjusted annually in accordance with the Consumer Price Index (CPI).

IID customers with new projects receiving water under the IWSP will be charged the appropriate water delivery rate based on measured deliveries, see IID Water Rate Schedules.  As of January 2025, IID has issued two water supply agreement and one “Will-Serve Letter” under the IWSP for 6,380 AFY, leaving a balance of 18,620  AFY of potential water supply available for additional conservation and contracting under the IWSP.

## IID Temporary Land Conversion Fallowing Policy (May 2012)

Imperial County planning officials determined that renewable energy facilities were consistent with the county’s agricultural zoning designation and began issuing conditional use permits (CUPs) for these projects with 30-year terms with a 10-year extension (40 years in total). These longer-term, but temporary, land use designations were not conducive to a coordinated land use/water supply policy as envisioned in the Imperial IRWMP, because temporary water supply assignments during a CUP term were not sufficient to meet the water supply verification requirements for new project approvals. Agricultural land owners also sought long-term assurances from IID that, at project termination, irrigation services would be available for them to resume their farming operations.

Based on these conditions, IID determined it had to develop a water supply policy that conformed to the local land use decision-making in order to facilitate new development and economic diversity in Imperial County which resulted in the IID Temporary Land Conversion Fallowing Policy (TLCFP).  IID concluded that certain lower water use projects could still provide benefits to local water users. The resulting benefits; however, may not be to the same categories of use (e.g., municipal, commercial and industrial) but to the district as a whole.

Water demands for certain non-agricultural projects are typically less than that required for agricultural production; this reduced demand allows conserved water to be made available for other users under IID’s annual consumptive use cap. This allows the district to avail itself of the ability during the term of the QSA/Transfer Agreements under CWC Section 1013 to create conserved water through projects such as temporary land fallowing conservation measures. This conserved water can then be used to satisfy the district’s conserved water transfer obligation and for environmental mitigation purposes.

Under the terms of the legislation adopted to facilitate the QSA/Transfer Agreements and enacted in CWC Section 1013, the TLCFP was adopted by the IID board on May 8, 2012 and revised on March 29, 2016 to update the fee schedule for 2016. This policy provides a framework for a temporary, long-term fallowing program to work in concert with the IWSP. While conserved water generated from the TLCFP is limited by law for use for water transfer or environmental purposes, by satisfying multiple district objectives the TLCFP serves to reduce efficiency conservation and water use reduction demands on IID water users, thus providing district wide benefits.

# Imperial Irrigation District’s Water Rights8F

The laws and regulations that influence IID’s water supply are noted in this section. The Law of the River (as described below), along with the 2003 Quantification Settlement Agreement and Related Agreements serve as the laws, regulations and agreements that primarily influence the findings of this WSA.  These agreements grant California the most senior water rights along the Colorado River and specify that IID has access to 3.1 MAF per year.  These two components will influence future decisions in terms of water supply availability during periods of shortages.

## California Law

IID has a longstanding right to divert Colorado River water, and IID holds legal titles to all of its water and water rights in trust for landowners within the district (CWC §20529 and §22437; Bryant v. Yellen, 447 U.S. 352, 371 (1980), fn.23.). Beginning in 1885, a number of individuals, as well as the California Development Company, made a series of appropriations of Colorado River water under California law for use in the Imperial Valley. The rights to these appropriations were among the properties acquired by IID from the California Development Company.

## Law of the River

Colorado River water rights are governed by numerous compacts, state and federal laws, court decisions and decrees, contracts, and regulatory guidelines collectively known as the “Law of the River.” Together, these documents form the basis for allocation of the water, regulation of land use, and management of the Colorado River water supply among the seven basin states and Mexico.

Of all regulatory literature that governs Colorado River water rights, the following are the specifics that impact IID:

Colorado River Compact (1922)

Boulder Canyon Project Act (1928)

California Seven-Party Agreement (1931)

Arizona v. California US Supreme Court Decision (1964, 1979)

Colorado River Basin Project Act (1968)

Quantification Settlement Agreement and Related Agreements (2003)

2003 Colorado River Water Delivery Agreement: Federal QSA for purposes of Section 5(b) Interim Surplus Guidelines (CRWDA)

1970 Criteria for Coordinated Long-Range Operation of Colorado River Reservoirs

Annual Operating Plan (AOP) for Colorado River Reservoirs

2007 Colorado River Interim Guidelines for Lower Basin Shortages and Coordinated Operations for Lakes Powell and Mead (2007 Interim Guidelines)

### Colorado River Compact (1922)

With authorization of their legislatures and urging of the federal government, representatives from the seven Colorado River basin states began negotiations regarding distribution of water from the Colorado River in 1921. In November 1922, an interstate agreement called the “Colorado River Compact” was signed by the representatives giving the Lower Basin perpetual rights to annual apportionments of 7.5 million acre-feet (MAF) of Colorado River water ( 75 MAF over ten years). The Upper Basin was to receive the remainder, which based on the available hydrological record was also expected to be 7.5 MAF annually, with enough left over to provide 1.5 MAF annually to Mexico.

### Boulder Canyon Project Act (1928)

Provisions in the 1928 Boulder Canyon Project Act made the compact effective and authorized construction of Hoover Dam and the All-American Canal, and served as the United States’ consent to accept the Compact. Through a Presidential Proclamation on June 25, 1929, this act resulted in ratification of the Compact by six of the basin states and required California to limit its annual consumptive use to 4.4 MAF of the lower basin’s apportionment plus not less than half of any excess or surplus water unapportioned by the Compact. A lawsuit was filed by the State of Arizona after its refusal to sign. Through the implementation of its 1929 Limitation Act, California abided by this federal mandate. The Boulder Canyon Act authorized the Secretary of the Interior (Secretary) to “contract for the storage of water… and for the delivery thereof… for irrigation and domestic uses,” and additionally defined the lower basin’s 7.5 MAF apportionment split, with an annual allocation 0.3 MAF to Nevada, 2.8 MAF to Arizona, and 4.4 MAF to California. Even though the three states never formally settled or agreed to these terms, a 1964 Supreme Court decision (Arizona v. California, 373 U.S. 546) declared the three states’ consent to be insignificant since the Boulder Canyon Project Act was authorized by the Secretary.

### California Seven-Party-Agreement (1931)

Following implementation of the Boulder Canyon Project Act, the Secretary requested that California make recommendations regarding distribution of its apportionment of Colorado River water. In August 1931, under chairmanship of the State Engineer, the California Seven-Party Agreement was developed and authorized by the affected parties to prioritize California water rights. The Secretary accepted this agreement and established these priorities through General Regulations issued in September of 1931. The first four (4) priority allocations account for California's annual apportionment of 4.4 MAF, with agricultural entities using 3.85 MAF of that total. Additional priorities are defined for years in which the Secretary declares that excess waters are available.

### Arizona v. California U.S. Supreme Court Decision (1964, 1979)

The 1964 Supreme Court decision settled a 25-year disagreement between Arizona and California that stemmed from Arizona’s desire to build the Central Arizona Project to enable use of its full apportionment. California’s argument was that as Arizona used water from the Gila River, which is a Colorado River tributary, it was using a portion of its annual Colorado River apportionment. An additional argument from California was that it had developed a historical use of some of Arizona’s apportionment, which, under the doctrine of prior appropriation, precluded Arizona from developing the project. California’s arguments were rejected by the U.S. Supreme Court. Under direction of the Supreme Court, the Secretary was restricted from delivering water outside of the framework of apportionments defined by law. Preparation of annual reports documenting consumptive use of water in the three lower basin states was also mandated by the Supreme Court. In 1979, present perfected water rights (PPRs) referred to in the Colorado River Compact and in the Boulder Canyon Project Act were addressed by the Supreme Court in the form of a Supplemental Decree.

In March of 2006, a Consolidated Decree was issued by the Supreme Court to provide a single reference to the conditions of the original 1964 decrees and several additional decrees in 1966, 1979, 1984 and 2000 that stemmed from the original ruling. The Consolidated Decree also reflects the settlements of the federal reserved water rights claim for the Fort Yuma Indian Reservation.

### Colorado River Basin Project Act (1968)

In 1968, various water development projects in both the upper and lower basins, including the Central Arizona Project (CAP) were authorized by Congress. Under the Colorado River Basin Project Act, priority was given to California’s apportionment over (before) the CAP water supply in times of shortage. Also under the act, the Secretary was directed to prepare long-range criteria for the Colorado River reservoir system in consultation with the Colorado River Basin States.

### Quantification Settlement Agreement and Related Agreements (2003)

With completion of a large portion of the CAP infrastructure in 1994, creation of the Arizona Water Banking Authority in 1995, and the growth of Las Vegas in the 1990s, California encountered increasing pressure to live within its rights under the Law of the River. After years of negotiating among Colorado River Compact States and affected California water delivery agencies, a Quantification Settlement Agreement and Related Agreements and documents were signed on October 10, 2003, by the Secretary of Interior, IID, Coachella Valley Water District (CVWD), Metropolitan Water District of Southern California (MWD), San Diego County Water Authority (SDCWA), and other affected parties.

The Quantification Settlement Agreement and Related Agreements (QSA/Transfer Agreements) are a set of interrelated contracts that resolve certain disputes among the United States, the State of California, IID, MWD, CVWD and SDCWA, for a period of 35 to 75 years, regarding the reasonable and beneficial use of Colorado River water; the ability to conserve, transfer and acquire conserved Colorado River water; the quantification and priority of Priorities 3(a) and 6(a) within California for use of Colorado River water; and the obligation to implement and fund environmental impact mitigation.

Conserved water transfer agreements between IID and SDCWA, IID and CVWD, and IID and MWD are all part of the QSA/Transfer Agreements. For IID, these contracts identify conserved water volumes and establish transfer schedules along with price and payment terms. As specified in the agreements, IID will transfer nearly 415,000 AF annually over a 35-year period (or longer), as follows:

to MWD 110,000 AF [modified to 105,000 AF in 2007],

to SDCWA 205,000 AF,

to CVWD and MWD combined 103,000 AF, and

to certain San Luis Rey Indian Tribes up to 11,500 AFY of water.

All of the conserved water will ultimately come from IID system and on-farm efficiency conservation improvements. In the interim, IID has implemented a Fallowing Program to generate water associated with Salton Sea mitigation related to the impacts of the IID/SDCWA water transfer, as required by the State Water Resources Control Board, which is to run from 2003 through 2017. In return for its QSA/Transfer Agreements programs and deliveries, IID will receive payments totaling billions of dollars to fund needed efficiency conservation measures and to pay growers for conserved on-farm water, so IID can transfer nearly 14.5 MAF of water without impacting local productivity. In addition, IID will transfer to SDCWA 67,700 AFY annually of water conserved from the lining of the AAC in exchange for payment of lining project costs and a grant to IID of certain rights to use the conserved water. In addition to the 105,000 acre-feet of water currently being conserved under the 1988 IID/MWD Conservation Program, these more recent agreements define an additional 303,000 AFY to be conserved by IID from on-farm and distribution system conservation projects for transferred to SDCWA, CVWD, and MWD.

### Colorado River Water Delivery Agreement (2003)11F

As part of QSA/Transfer Agreements among California and federal agencies, the Colorado River Water Delivery Agreement: Federal QSA for purposes of Section 5(b) Interim Surplus Guidelines (CRWDA) was entered into by the Secretary of the Interior, IID, CVWD, MWD and SDCWA.  This agreement involves the federal government because of the change in place of diversion from Imperial Dam into the All-American Canal to Parker Dam into MWD’s Colorado River Aqueduct.

The CRWDA assists California to meet its “4.4 Plan” goals by quantifying deliveries for a specific number of years for certain Colorado River entitlements so transfers may occur.  In particular, for the term of the CRWDA, quantification of Priority 3(a) was effected through caps on water deliveries to IID (consumptive use of 3.1 MAF per year) and CVWD (consumptive use of 330 KAF per year). In addition, California’s Priority 3(a) apportionment between IID and CVWD, with provisions for transfer of supplies involving IID, CVWD, MWD and SDCWA are quantified in the CRWDA for a period of 35 years or 45 years (assumes SDCWA does not terminate in year 35) or 75 years (assumes SDCWA and IID mutually consent to renewal term of 30 years).

Allocations for consumptive use of Colorado River water by IID, CVWD and MWD that will enable California to stay within its basic annual apportionment (4.4 MAF plus not less than half of any declared surplus) are defined by the terms of the QSA/Transfer Agreements (Table 9). As specified in the QSA/Transfer Agreements, by 2026, IID’s annual use within (Imperial Valley) is to be reduced to just over 2.6 MAF of its 3.1 MAF quantified annual apportionment.  The remaining nearly 500,000 AF (which includes the 67,000 AF from AAC lining) are to be transferred annually to urban water users outside of the Imperial Valley.

Table 9. CRWDA Annual 4.4 MAF Apportionment (Priorities 1 to 4) for California Agencies (AFY)

| User | Apportionment (AFY) |
| --- | --- |
| Palo Verde Irrigation District and Yuma Project* | 420,000 |
| Imperial Irrigation District | 3,100,000 |
| Coachella Valley Water District | 330,000 |
| Metropolitan Water District of Southern California* | 550,000 |
| Total: | 4,400,000 |
| * PVID and Yuma Project did not agree to a cap; value represents a contractual obligation by MWD to assume responsibility for any overages or be credited with any volume below this value. Notes: All values are consumptive use at point of Colorado River diversion: Palo Verde Diversion Dam (PVID), Imperial Dam (IID and CVWD), and Parker Dam (MWD). Source: IID Annual Water Report |  |

Quantification of Priority 6(a) was effected through quantifying annual consumptive use amounts to be made available in order of priority to MWD (38 KAF), IID (63 KAF), and CVWD (119 KAF) with the provision that any additional water available to Priority 6(a) be delivered under IID’s and CVWD’s existing water delivery contract with the Secretary.12F  The CRWDA provides that the underlying water delivery contract with the Secretary remain in full force and effect.  (Colorado River Documents 2008, Chapter 6, pages 6-12 and 6-13). The CRWDA also provides a source of water to effect a San Luis Rey Indian Water Rights settlement.  Additionally, the CRWDA satisfies the requirement of the 2001 Interim Surplus Guidelines (ISG) that a QSA be adopted as a prerequisite to the interim surplus determination by the Secretary in the ISG.

### Inadvertent Overrun Payback Policy (2003)

The CRWDA Inadvertent Overrun Payback Policy (IOPP), adopted by the Secretary contemporaneously with the execution of the CRWDA, provides additional flexibility to Colorado River management and applies to entitlement holders in the Lower Division States (Arizona, California and Nevada).13F  The IOPP defines inadvertent overruns as “Colorado River water diverted, pumped, or received by an entitlement holder of the Lower Division States that is in excess of the water users’ entitlement for the year.” An entitlement holder is allowed a maximum overrun of 10 percent (10%) of its Colorado River water entitlement when operating under normal conditions.

In the event of an overrun, the IOPP provides a mechanism to payback the overrun. When the Secretary has declared a normal year for Colorado River diversions, a contractor has from one to three years to pay back its obligation, with a minimum annual payback equal to 20 percent of the entitlement holder’s maximum allowable cumulative overrun account or 33.3 percent of the total account balance, whichever is greater.  However, when Lake Mead is below 1125 feet on January 1, the terms of the IOPP require that the payment of the inadvertent overrun obligation be made in the calendar year after the overrun is reported in the USBR Lower Colorado Region Colorado River Accounting and Water Use Report [for] Arizona, California, and Nevada (Decree Accounting Report).14F

### 1970 Criteria for Coordinated Long-Range Operation of Colorado River Reservoirs

The 1970 Operating Criteria control operation of the Colorado River reservoirs in compliance with requirements set forth in the Colorado River Compact of 1922, the United States-Mexico Water Treaty of 1944, the Colorado River Storage Project Act of 1956, the Boulder Canyon Projects Act (Lake Mead) and the Colorado River Basin Project Act (Upper Basin Reservoirs) of 1968, and other applicable federal laws.  Under these Operating Criteria, the Secretary makes annual determinations published in the USBR Annual Operating Plan for Colorado River Reservoirs (discussed below) regarding the release of Colorado River water for deliveries to the lower basin states.  A requirement to equalize active storage between Lake Powell and Lake Mead when there is sufficient storage in the Upper Basin is included in these operating criteria. Figure 5 identifies the major storage facilities at the upper and lower basin boundaries.

### Annual Operating Plan for Colorado River Reservoirs (Applicable when Lake Mead Surplus/Shortage)

The AOP is developed in accordance with Section 602 of the Colorado River Basin Project Act (Public Law 90-537); the Criteria for Coordinated Long-Range Operations of Colorado River Reservoirs Pursuant to the Colorado River Basin Project Act of 1968, as amended, promulgated by the Secretary of the Interior; and Section 1804(c)(3) of the Grand Canyon Protection Act (Public Law 102-575). As part of the AOP process, the Secretary makes determinations regarding the availability of Colorado River water for deliveries to the lower basin states, including whether normal, surplus, and shortage conditions are in effect on the lower portion of the Colorado River.

### 2007 Colorado River Interim Guidelines for Lower Basin Shortages (2007 Interim Guidelines)

A multi-year drought in the Colorado River Upper Basin triggered the need for the 2007 Interim Shortage Guidelines. In the summer of 1999, Lake Powell was essentially full with reservoir storage at 97 percent of capacity.  However, precipitation fell off starting in October 1999 and 2002 inflow was the lowest recorded since Lake Powell began filling in 1963. By August 2011, inflow was 279 percent (279%) of average; however, drought resumed in 2012 and continued through calendar year 2022. Although 2023 experienced hydrological improvements, it was not sufficient to make a significant difference in lake elevation.   Using the record in Table 10, average unregulated inflow to Lake Powell for water years 2000-2024 is 74 percent (74.33 %); or if 2011 is excluded, 71 percent (71.65%) of the historic average.

Table 10. Unregulated Inflow to Lake Powell, Percent of Historic Average, 2000-2023

| 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 62% | 59% | 25% | 51% | 49% | 105% | 73% | 68% | 102% | 88% | 73% |
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 |
| 136% | 35% | 49% | 90% | 83% | 80% | 101% | 36% | 111% | 45% | 33% |
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 |
| 52% | 112% | 66% |  |  |  |  |  |  |  |  |

Source: UCR Water Operations: Historic Data (2000-2024)

Figure 5. Major Colorado River Reservoir Storage Facilities and Basin Location Map

Source: Final EIS – Colorado River Interim Guidelines for Lower Basin Shortages and Coordinated Operations for Lake Powell and Lake Mead, Volume 1 Chapter 1 Purpose and Need , p  I-10.

In the midst of the drought period, USBR developed 2007 Interim Guidelines with consensus from the seven basin states, which selected the Draft EIS Preferred Alternative as the basis for USBR’s final determination. The basin states found the Preferred Alternative best met all aspects of the purpose and need for the federal action.

The 2007 Interim Guidelines Preferred Alternative highlights the following:

The need for the Interim Guidelines to remain in place for an extended period of time.

The desirability of the Preferred Alternative based on the facilitated consensus recommendation from the basin states.

The likely durability of the mechanisms adopted in the Preferred Alternative in light of the extraordinary efforts that the basin states and water users have undertaken to develop implementing agreements that will facilitate the water management tools (shortage sharing, forbearance, and conservation efforts) identified in the Preferred Alternative.

That the range of elements in the Preferred Alternative will enhance the Secretary’s ability to manage the Colorado River reservoirs in a manner that recognizes the inherent tradeoffs between water delivery and water storage.

In June 2007, USBR announced that a preferred alternative for Colorado River Interim Guidelines for Lower Basin Shortages and Coordinated Operations of Lake Powell and Lake Mead (Final Preferred Alternative) had been determined. The Final Preferred Alternative, based on the basin states’ consensus alternative and an alternative submitted by the environmental interests called “Conservation Before Shortage,” is comprised of four key operational elements which are to guide operations of Lake Powell and Lake Mead through 2026. These four operational elements are:

- Shortage strategy for Lake Mead and Lower Division states: The Preferred Alternative proposed discrete levels of shortage volumes associated with Lake Mead elevations to conserve reservoir storage and provide water users and managers in the Lower Basin with greater certainty to know when, and by how much, water deliveries will be reduced during low reservoir conditions.

Coordinated operations of Lake Powell and Lake Mead: The Preferred Alternative proposed a fully coordinated operation of the reservoirs to minimize shortages in the Lower Basin and to avoid risk of curtailments of water use in the Upper Basin.

Mechanism for storage and delivery of conserved water in Lake Mead: The Preferred Alternative proposed the Intentionally Created Surplus (ICS) mechanism to provide for the creation, accounting, and delivery of conserved system and non-system water thereby promoting water conservation in the Lower Basin. Credits for Colorado River or non-Colorado River water that has been conserved by users in the Lower Basin creating an ICS would be made available for release from Lake Mead at a later time. The total amount of credits would be 2.1 MAF, but this amount could be increased up to 4.2 MAF in future years.

Modifying and extending elements of the Interim Surplus Guidelines (ISG). The ISG determines conditions under which surplus water is made available for use within the Lower Division states.  These modifications eliminate the most liberal surplus conditions thereby leaving more water in storage to reduce the severity of future shortages.

With respect to the various interests, positions and views of the seven basin states, this provision adds an important element to the evolution of the legal framework for prudent management of the Colorado River.  Furthermore, the coordinated operation element allows for adjustment of Lake Powell releases to respond to low reservoir storage conditions in either Lake Powell or Lake Mead. States found the Preferred Alternative best met all aspects of the purpose and need for the federal action.  The 2007 Interim Guidelines are in place from 2008 through December 31, 2025 (through preparation of the 2026 Annual Operating Plan).

### Lower Colorado Region Water Shortage Operations

The Colorado River Basin is experiencing a prolonged period of drought and record-low runoff conditions that have resulted in historically low reservoir levels in both Lake Powell (upper Basin) and Lake Mead (lower Basin).  The period from 2000 through 2024 was the lowest 25-year inflow into Lake Powell in the historical record and has strained the Colorado River system, despite an increase in observed runoff in August 2011 when unregulated inflow to Lake Powell was 279 percent of the average.  Since 2000, Lake Mead has been below the “average” level of lake elevations (see Figure 6). Such conditions have caused the activation of shortage plans for waters users in Arizona and Nevada, and in Mexico. By June of 2022 Lake Meads elevation had declined to 1,045 feet. These conditions resulted in the U.S. Secretary of the Interior declaring the first-ever Tier 2a Shortage on the Colorado River.	 The drought in the Colorado River watershed had lessened by mid 2023 after a winter of record-breaking rain and snow but not enough to take the Lower Basin out of a Tier 1 Shortage for 2024 operations.

Lake Mead Water Elevations

Figure 6. Lake Mead Water Elevation Levels 04.06.25 visit <http://www.arachnoid.com/NaturalResources/index.html>

According to guidelines put in place in 2007, Arizona and Nevada begin to take shortages when the water elevation in Lake Mead falls below 1,075 feet. The volumes of shortages increase as water levels fall to 1,050 feet and again at 1,025 feet.  In 2012, Mexico agreed to participate in a 5-year pilot agreement to share specific volumes of shortages at the same elevations. The 2007 interim shortage guidelines contain no reductions for California, which has senior water rights to the Central Arizona Project water supply, through 2025 when the guidelines expire.  If Lake Mead's elevation drops to 1,025 feet, a re-consultation process would be triggered among the basin states to address next steps.  Consultation would start out within each state, then move to the three lower basin states, followed by all seven states and the USBR. Mexico will then be brought into the process unless they choose to participate earlier.  In total, 721,000 acre-feet of reductions were implemented in the Lower Basin and Mexico in 2023 consistent with various agreements that dictate the operation of the Colorado River.

California has no stipulated reduction to its water supplies under a Tier 2a Shortage declaration.  While not directly affected by the shortage reductions announced by Reclamation, the Shortage condition does prevent IID from overrunning its approved water order and, as stated earlier, contributions to address Lake Mead water elevation are anticipated by IID. IID has entered into a voluntary water conservation agreement for the benefit of Lake Mead, up to 250,000 AFY, through 2026.

# Imperial Irrigation District Water Supply and Demand

SB 610 requires an analysis of a normal, single dry, and multiple dry water years to show that adequate water is available for the proposed Project in various climate scenarios.  Water availability for this Project in a normal year is no different from water availability during a single-dry and multiple-dry year scenarios.  This is due to the small effect rainfall has on water availability in IID’s arid environment along with IID’s strong entitlements to the Colorado River water supply.  Local rainfall does have some impact on how much water is consumed (i.e. if rain falls on agricultural lands, those lands will not demand as much irrigation), but does not impact the definition of a normal year, a single-dry year or a multiple-dry year scenario.

# Water Availability – Normal Year

IID is entitled to annual net consumptive use of 3.1 MAF of Colorado River, less its QSA/Transfer Agreement obligations. Imperial Dam, located north of Yuma, Arizona, serves as a diversion structure for water deliveries throughout southeastern California, Arizona and Mexico. Water is transported to the IID water service area through the AAC for use throughout the Imperial Valley. IID historic and forecast net consumptive use volumes at Imperial Dam from CRWDA Exhibit B are shown in Table 11.   Volumes 2003-2024 are adjusted for USBR Decree Accounting historic records.  Volumes for 2025-2077 are from CRWDA Exhibit B modified to reflect 2014 Letter Agreement changes to the 1988 IID/MWD Water Conservation Agreement.

Due to limits on annual consumptive use of Colorado River water under the QSA/Transfer Agreements, IID’s water supply during a normal year is best represented by the CRWDA Exhibit B Net Available for Consumptive Use (Table 11, Column 11).  The annual volume is IID Priority 3(a) Quantified Amount of 3.1 million acre-feet (MAF) (Table 11, Column 2) less the IID transfer program reductions for each year (Table 11, Columns 3-9). IID suggests Table 11, which assumes full use of IID’s quantified water supply, be used in determining base normal year water availability.

Table 11. IID Historic and Forecast Net Consumptive Use for Normal Year, Single-Dry Year and Multiple-Dry Year Water Supply, 2003-2037, et seq. (CRWDA Exhibit B)

| IID Quantification and Transfers, Volumes in KAF at Imperial Dam 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Col 1 | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  |  | 11 |  |
| Year |  | IID Priority 3(a) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | IID 3(a) Quantified Amount |  | IID Reductions |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | IID Net [Available for] Consumptive Use (Col 2 - 10) |  |
|  |  |  |  | 1988 MWD Transfer 2 |  | SDCWA Transfer |  | AAC Lining |  | Salton Sea Mitigation SDCWA Transfer 3 |  | Intra- Priority 3 CVWD Transfer |  | MWD Transfer w\ Salton Sea Restoration 4 |  | Misc. PPRs |  |  | IID Total Reduction (Σ Cols 3-9) 5 |  |  |  |
| 2003 |  | 3,100 |  | 105.1 |  | 10.0 |  | 0.0 |  | 0.0 |  | 0.0 |  | 0.0 |  | 11.5 |  |  | 126.6 |  | 2978.2 |  |
| 2004 |  | 3,100 |  | 101.9 |  | 20.0 |  | 0.0 |  | 15.0 |  | 0.0 |  | 0.0 |  | 11.5 |  |  | 148.4 |  | 2743.9 |  |
| 2005 |  | 3,100 |  | 101.9 |  | 30.0 |  | 0.0 |  | 15.0 |  | 0.0 |  | 0.0 |  | 11.5 |  |  | 158.4 |  | 2756.8 |  |
| 2006 |  | 3,100 |  | 101.2 |  | 40.0 |  | 0.0 |  | 20.0 |  | 0.0 |  | 0.0 |  | 11.5 |  |  | 172.7 |  | 2909.7 |  |
| 2007 |  | 3,100 |  | 105.0 |  | 50.0 |  | 0.0 |  | 25.0 |  | 0.0 |  | 0.0 |  | 11.5 |  |  | 191.5 |  | 2872.8 |  |
| 2008 |  | 3,100 |  | 105.0 |  | 50.0 |  | 8.9 |  | 26.0 |  | 4.0 |  | 0.0 |  | 11.5 |  |  | 205.4 |  | 2825.1 |  |
| 2009 |  | 3,100 |  | 105.0 |  | 60.0 |  | 65.5 |  | 30.1 |  | 8.0 |  | 0.0 |  | 11.5 |  |  | 280.1 |  | 2566.7 |  |
| 2010 |  | 3,100 |  | 105.0 |  | 70.0 |  | 67.7 |  | 33.8 |  | 12.0 |  | 0.0 |  | 11.5 |  |  | 294.8 |  | 2540.5 |  |
| 2011 |  | 3,100 |  | 103.9 |  | 63.3 |  | 67.7 |  | 0.0 |  | 16.0 |  | 0.0 |  | 11.5 |  |  | 262.4 |  | 2915.8 |  |
| 2012 |  | 3,100 |  | 104.1 |  | 106.7 |  | 67.7 |  | 15.2 |  | 21.0 |  | 0.0 |  | 11.5 |  |  | 326.2 |  | 2,903.2 |  |
| 2013 |  | 3,100 |  | 105.0 |  | 100.0 |  | 67.7 |  | 71.4 |  | 26.0 |  | 0.0 |  | 11.5 |  |  | 381.6 |  | 2,554.9 |  |
| 2014 |  | 3,100 |  | 104.1 |  | 100.0 |  | 67.7 |  | 89.2 |  | 31.0 |  | 0.0 |  | 11.5 |  |  | 403.5 |  | 2,533.4 |  |
| 2015 |  | 3,100 |  | 107.82 |  | 100.0 |  | 67.7 |  | 153.3 |  | 36.0 |  | 0.0 |  | 11.5 |  |  | 476.3 |  | 2,480.9 |  |
| 2016 |  | 3,100 |  | 105.0 |  | 100.0 |  | 67.7 |  | 130.8 |  | 41.0 |  | 0.0 |  | 11.5 |  |  | 456.0 |  | 2,504.3 |  |
| 2017 |  | 3,100 |  | 105.0 |  | 100.0 |  | 67.7 |  | 105.3 |  | 45.0 |  | 0.0 |  | 9.9 |  |  | 432.9 |  | 2,667.1 |  |
| 2018 |  | 3,100 |  | 105 |  | 130.0 |  | 67.7 |  | 0.1 |  | 63 |  | 0.0 |  | 9.7 |  |  | 375.5 |  | 2,724.5 |  |
| 2019 ⁶ |  | 3,100 |  | 105 |  | 160.0 |  | 67.7 |  | 46.55 |  | 68 |  | 0.0 |  | 6.9 |  |  | 454.2 |  | 2,645.8 |  |
| 2020 |  | 3,100 |  | 105 |  | 192.5 |  | 67.7 |  | 0.0 |  | 73 |  | 0.0 |  | 9.1 |  |  | 448.0 |  | 2,652.0 |  |
| 2021 |  | 3,100 |  | 105 |  | 205.0 |  | 67.7 |  | 0.0 |  | 78 |  | 0.0 |  | 9.3 |  |  | 465.0 |  | 2,635.0 |  |
| 2022 |  | 3,100 |  | 105 |  | 202.5 |  | 67.7 |  | 0 |  | 83 |  | 0.0 |  | 9.8 |  |  | 468.0 |  | 2,632.0 |  |
| 2023⁷ |  | 3,100 |  | 105 |  | 150.0 |  | 67.7 |  | 0 |  | 88 |  | 0.0 |  | 11.5 |  |  | 422.2 |  | 2,677.8 |  |
| 2024⁷ |  | 3,100 |  | 105 |  | 150.0 |  | 67.7 |  | 0 |  | 93 |  | 0.0 |  | 11.5 |  |  | 427.2 |  | 2,672.8 |  |
| 2025 |  | 3,100 |  | 105 |  | 200 |  | 67.7 |  | 0 |  | 98 |  | 0.0 |  | 11.5 |  |  | 482.2 |  | 2,617.8 |  |
| 2026 |  | 3,100 |  | 105 |  | 200 |  | 67.7 |  | 0 |  | 103 |  | 0.0 |  | 11.5 |  |  | 487.2 |  | 2,612.8 |  |
| 2027 |  | 3,100 |  | 105 |  | 200 |  | 67.7 |  | 0 |  | 103 |  | 0.0 |  | 11.5 |  |  | 487.2 |  | 2,612.8 |  |
| 2028 |  | 3,100 |  | 105 |  | 200 |  | 67.7 |  | 0 |  | 103 |  | 0.0 |  | 11.5 |  |  | 487.2 |  | 2,612.8 |  |
| 2029-37 |  | 3,100 |  | 105 |  | 200 |  | 67.7 |  | 0 |  | 103 |  | 0.0 |  | 11.5 |  |  | 487.2 |  | 2,612.8 |  |
| 2038-47⁸ |  | 3,100 |  | 105 |  | 200 |  | 67.7 |  | 0 |  | 103 |  | 0.0 |  | 11.5 |  |  | 487.2 |  | 2,612.8 |  |
| 2048-77 ⁹ |  | 3,100 |  | 105 |  | 200 |  | 67.7 |  | 0 |  | 50¹⁰ |  | 0.0 |  | 11.5 |  |  | 434.2 |  | 2,665.8 |  |

- 2003 through 2024, volumes are adjusted for actual USBR Decree Accounting values; IID Total Reduction and Net Available for Consumptive Use may not equal Col 2 minus Col 10, if IID conservation/use was not included in Exhibit B.

- 2014 Letter of Agreement provides that, effective January 2016 total amount of conserved water available is 105 KAFY

- Salton Sea Mitigation volumes may vary based on conservation volumes and method of conservation.

- This transfer is not likely given lack of progress on Salton Sea restoration as of 2018; shaded entries represents volumes that may vary..

- Reductions include conservation for 1988 IID/MWD Transfer, IID/SDCWA Transfer, AAC Lining; SDCWA Transfer Mitigation, MWD Transfer w/Salton Sea Restoration (if any); Misc. PPRs. Amounts are independent of increases and reductions as allowed by the IOPP. Reductions do not reflect additional reduced volumes for temporary SCIA commitments to Lake Mead which initiated in 2023 with a sunset schedule of 2026.

- In order to resolve the outstanding 2010 Salton Sea mitigation water pre-delivery issue, IID left 46,546 AF of extraordinary conservation in Lake Mead. See IID's December 19, 2019 revised 2019 water order and Reclamation's March 10, 2020 approval letter.

- In 2023 and 2024, 50 KAF of ICS was foregone by SDCWA for the benefit of Lake Mead under the Drought Response Plan by Reclamation.

- Assumes SDCWA does not elect termination in year 35.

- Assumes SDCWA and IID mutually consent to renewal term of 30 years.

- Modified from 100 KAFY in CRWDA Exhibit B; stating in 2018 MWD will provide CVWD 50 KAFY of the 100 KAFY.

Source: CRWDA: Federal QSA Exhibit B, p 13; updated values from 2023 Annual Water & QSA Implementation Report

CRWDA Exhibit B Net Available for Consumptive Use volumes less system operation demand represents the amount of water available for delivery by IID Water Department to its customers each year.  In a normal year, perhaps 50,000 to 100,000 AF of effective rainfall would fall in the IID water service area. However, rainfall is not evenly distributed throughout the IID water service area and is not taken into account by IID in the submittal of its Estimate of Diversion (annual water order) to the USBR.

# Expected Water Availability – Single Dry and Multiple Dry Years

Historically, when drought conditions exist within the IID water service area, as has been the case for the past two decades, the water supply available to meet agricultural and non-agricultural water demands remains the same as normal year water supply because IID historically relied solely on its entitlement for Colorado River water.  Due to the priority of IID water rights and other agreements, drought conditions affecting Colorado River water supplies cause shortages for Arizona, Nevada and Mexico, before impacting California and IID.  Accordingly, the Net Available for Consumptive Use volumes in Table 11, Column 11 represents the water supply at Imperial Dam available for diversion by IID in single-dry year and multiple-dry year scenarios, consistent with IID’s senior water rights. The runoff declines in the upper basin and prolonged drought conditions throughout the west have resulted, for the first time, in the Colorado River operating under a Tier 2a Shortage Condition in 2023, creating long-term water supply uncertainties throughout the Basin states.The expiration of the 2007 Guidelines add to the uncertaintly of operations post 2026.

## Water Management under a Suspended Inadvertent Overrun Payback Policy (IOPP)

Under normal operating conditions, the CRWDA Inadvertent Overrun Payback Policy (IOPP), provided IID with some flexibility to manage its water use. When the water level in Lake Mead is above 1,125 feet, an overrun of its USBR approved annual water order was permissible, and IID had up to three years to pay water use above the annual water order. When Lake Mead’s water level is at or below 1,125 feet on January 1 in the calendar year after the overrun is reported in the USBR Lower Colorado Region Decree Accounting Report, the IOPP prohibits additional overruns and requires that outstanding overruns be paid back in the subsequent calendar year rather than in three years as allowed under normal conditions; that is, the payback is to be made in the calendar year following publication of the overrun in the USBR Decree Accounting Report. The IOPP is suspended during shortage conditions. For historic IID annual rainfall, net consumptive use, transfers and IID underrun/overrun amounts, see Table 12.

Table 12. IID Annual Rainfall (In), Net Consumptive Use and Underrun/Overrun Amounts (AF), 1988-2024

| Year | IID Total Annual Rainfall | IID Water Users | IID/MWD Transfer | IID/ SDCWA Transfer | SDCWA Transfer Salton Sea Mitigation | IID Underrun / Overrun | IID/CVWD Transfer | AAC Lining |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1988 |  | 2,947,581 |  |  |  |  |  |  |
| 1989 |  | 3,009,451 |  |  |  |  |  |  |
| 1990 | 91,104 | 3,054,188 | 6,110 |  |  |  |  |  |
| 1991 | 192,671 | 2,898,963 | 26,700 |  |  |  |  |  |
| 1992 | 375,955 | 2,575,659 | 33,929 |  |  |  |  |  |
| 1993 | 288,081 | 2,772,148 | 54,830 |  |  |  |  |  |
| 1994 | 137,226 | 3,048,076 | 72,870 |  |  |  |  |  |
| 1995 | 159,189 | 3,070,582 | 74,570 |  |  |  |  |  |
| 1996 | 78,507 | 3,159,609 | 90,880 |  |  |  |  |  |
| 1997 | 64,407 | 3,158,486 | 97,740 |  |  |  |  |  |
| 1998 | 100,092 | 3,101,548 | 107,160 |  |  |  |  |  |
| 1999 | 67,854 | 3,088,980 | 108,500 |  |  |  |  |  |
| 2000 | 29,642 | 3,112,770 | 109,460 |  |  |  |  |  |
| 2001 | 12,850 | 3,089,911 | 106,880 |  |  |  |  |  |
| 2002 | 12,850 | 3,152,984 | 104,940 |  |  |  |  |  |
| 2003 | 116,232 | 2,978,223 | 105,130 | 10,000 | 0 | 6,555 |  |  |
| 2004 | 199,358 | 2,743,909 | 101,900 | 20,000 | 15,000 | -166,408 |  |  |
| 2005 | 202,983 | 2,756,846 | 101,940 | 30,000 | 15,000 | -159,881 |  |  |
| 2006 | 19,893 | 2,909,680 | 101,160 | 40,000 | 20,000 | 12,414 |  |  |
| 2007 | 64,580 | 2,872,754 | 105,000 | 50,000 | 25,021 | 6,358 |  |  |
| 2008 | 63,124 | 2,825,116 | 105,000 | 50,000 | 26,085 | -47,999 | 4,000 | 8,898 |
| 2009 | 30,0354 | 2,566,713 | 105,000 | 60,000 | 30,158 | -237,767 | 8,000 | 65,577 |
| 2010 | 189,566 | 2,545,593 | 105,000 | 70,000 | 33,736 | -207,925 | 12,000 | 67,700 |
| 2011 | 109,703 | 2,915,784 | 103,940 | 63,278 | 0 | 82,662 | 16,000 | 67,700 |
| 2012 | 133,526 | 2,903,216 | 104,140 | 106,722 | 15,182 | 134,076 | 21,000 | 67,700 |
| 2013 | 134,497 | 2,554,845 | 105,000 | 100,000 | 71,398 | -64,981 | 26,000 | 67,700 |
| 2014 | 53,517 | 2,533,414 | 104,100 | 100,000 | 89,168 | -797 | 31,000 | 67,700 |
| 2015 | 97,039 | 2,480,933 | 107,820 | 100,000 | 153,327 | -90,025 | 36,000 | 67,700 |
| 2016 | 90,586 | 2,504,258 | 105,000 | 100,000 | 130,796 | -62,497 | 41,000 | 67,700 |
| 2017 | 105,919 | 2,548,171 | 105,000 | 100,000 | 105,311 | -30,591 | 45,000 | 67,700 |
| 2018 | 63,318 | 2,625,422 | 105,000 | 130,000 | 0 | 0 | 63,000 | 67,700 |
| 2019 | 146,384 | 2,558,136 | 105,000 | 160,000 | 46,555 | -34,215 | 68,000 | 67,700 |
| 2020 | 130,275 | 2,493,623 | 105,000 | 192,500 | 0 | -98,073 | 73,000 | 67,700 |
| 2021 | 81,901 | 2,552,674 | 105,000 | 205,000 | 0 | -37,737 | 78,000 | 67,700 |
| 2022 | 61,377 | 2,577,164 | 105,000 | 202,500 | 0 | -6,470 | 83,000 | 67,700 |
| 2023 | 68,122 | 2,417,024 | 105,000 | 150,000¹ | 0 | -146.8 | 88,000 | 67,700 |
| 2024 | 88,063 | 2,311,905 | 105,000 | 150,000¹ | 0 | -93,255 | 93,000 | 67,700 |

Notes: Volumes in acre-feet and except Total Annual Rainfall are USBR Decree Accounting Report record at Imperial Dam.

IID Total Annual Rainfall from IID Provisional Water Balance, first available calculations are for 1990

Not all IID QSA programs are shown on this table.

Source: USBR Decree Accounting reports, except IID Total Rainfall and IID Overrun/Underrun is a separate calculation

Source: 2023 IID Annual Water & QSA Implementation Report and 2024 IID SWRCB Report; IID Total Rainfall and IID Overrun/ Underrun is a separate calculation

On August 16, 2021, the water level in Lake Mead was 1,060 feet and for the first time since the IOPP came into effect, the Secretary of the Interior declared the first-ever, Tier 1 shortage condition for Colorado River operations, with elevations reaching 1,045 as of mid 2022 (Figure 7). For IID, this meant that no overruns would be allowed to IID’s approved water order which continues in effect through 2024.

Figure 7. Lake Mead Schematic (June 15, 2022)

The flexibility that IID was allowed in 2013 and 2014 is no longer available to the district.  Under the terms of the IOPP, no overruns are allowed in a year when payback is required.  IID has not experienced any overrun pay back since 2014 as noted in Table 13. Under shortage conditions, IID would use any conserved water stored in a non-System reservoir, if available, to prevent any overrun.

Table 13.  IID Inadvertent Overrun Payback to the Colorado River under the IOPP, 2013-2024

| Calendar Year of Payback | 2011 Overrun Payback (AF) | 2012 Overrun Payback (AF) | Payback Total for Calendar Year (AF) |
| --- | --- | --- | --- |
| 2013 | 55,710 | - | 55,710 |
| 2014 | 20,662 | 134,076 | 154,738 |
| Total Payback | 76,372 | 134,076 | 210,448 |
| Notes: All values are consumptive use volumes at Imperial Dam (AF). 2013 Payback Total was 62 KAF, but in 2012 IID had 6,290 AF of early payback, reducing volume to 55,710 AF |  |  |  |

The 2013 IOPP payback obligation, prohibition on overruns in payback years, and suspension of this flexibility during shortage conditions led the IID Board to implement an apportionment program pursuant to the 2007 EDP, which has been subsequently revised and modified over the years. The 2023 EDP is a version approved and adopted by the IID Board on July 26, 2023 (see Attachment B). The Revised 2023 EDP also establishes a water exchange clearinghouse to facilitate the movement of water supply between all water users and within water user categories. The established water user categories are 1) agricultural water users, 2) industrial/commercial water users and 3) potable water users. As designed, the clearinghouse will allow IID and its water customers to balance water demands with the water supplies that are available to all users.

Generally, the EDP Apportionment, as discussed in the proceding section, is not expected to impact potable water uses or industrial/commercial uses. However, given the certainty of continuing drought on the Colorado River through 2026 and other stressors, provisions such as the 2012 IWSP Water Agreement sections 3.7 and 3.8 as well for dry and multiple dry year water assessment may come into effect. IID has agreed to work with public and private treatment water purveyors and Project proponents to ensure to the extent possible that the IWSP Water Supply Agreement terms will not adversely impact Project operation. For purposes of this WSA, years with a shortage condition that impacts non-agricultural projects such as an IOPP payback obligation constitute “dry” years for IID.  For single-dry year and multiple-dry water year assessments, IID’s EDP shall govern.

## Equitable Distribution Plan (EDP) History

A 2006 study by Hanemann and Brookes suggested that overrun conditions were likely to occur 40-50 percent of the years during the decade following the report. Under such conditions a supply/demand imbalance would occur resulting in a need to apportion water consistent with state law. Under California state law, water must be distributed equitably as determined by the IID Board of Directors.

On November 28, 2006, the IID Board of Directors adopted Resolution No 22-2006 approving development and implementation of an Equitable Distribution Plan to address times when customers’ demand would exceed IID’s Colorado River supply. The EDP, adopted in 2007 allowed the IID Board to institute an apportionment program. As part of this resolution, the IID Board directed the General Manager to prepare the rules and regulations necessary or appropriate to implement the plan within the district. The EDP Regulations were created to enable IID to implement a water management tool (apportionment) to address years in which water demand is expected to exceed supply.

It was expected that an annual EDP Apportionment would be established for each of the next several years, if not for the duration of the QSA. However, the implementation of the EDP apportionment was legally challenged in 2013 with litigation ensuing through 2017 when a statement of decision was issued by the trial court, followed by a writ of mandate and a declaratory judgment later that year.  The writ of mandate directed IID to repeal the EDP.  On February 6, 2018, the IID board approved a resolution repealing the EDP while the case was on appeal.  On July 16, 2020, the appellate court reversed the writ of mandate and declaratory judgment on almost all grounds, including declaratory relief on the water rights issue and IID’s discretion to determine the method of apportionment except for a provision as to how water was prioritized among water user categories. The court ruled that the district is required to distribute water equitably for all categories of users.

On June 21, 2022, IID adopted a revised EDP to address the single outstanding legal issue with respect to prioritization of apportionments among categories of water users.  The revised EDP also updated certain operational provisions and most importantly, to the extent feasible, provides for a defined quantity of available, annual water supply apportioned to each water user to prevent cumulative demands from exceeding IID’s available, authorized annual Colorado River supply (Appendix B-Equitable Distribuiton Plan). In July 2023 the EDP was revised again to allow for direct transfer of water through the IID Clearinghouse and among the respective water user categories.  Implementation of the EDP resumed in January 1, 2023 and will continue annually therafter consistent with the latest adopted EDP. For details regarding the EDP and its implementation, including related forms, please visit IID’s website at  Equitable Distribution | Imperial Irrigation District (iid.com).

## Projected Water Supplies

The projected and continued decline in runoff and prolonged drought conditions in the West are expected to contribute to even lower water elevation levels at Lakes Powell and Mead.  The Department of the Interior made the decision in early 2022 to protect critical Lake Powell elevations above Glen Canyon Dam by adding 500,000 AF of water from Flaming Gorge reservoir and temporarily reducing the 2022 annual operational release to Lake Mead by 480,000 AF. These conditions resulted in a reduced water apportionment to most of the Lower Division States and Mexico for 2022 through 2024, but did not affect IID’s water supply available for consumptive use. However, IID’s voluntary commitments for Lake Mead have been in effect since 2023 and will continue through 2026 at a maximum conservation volume of 300,000 AFY.

Despite the Department’s extraordinary actions, the hydrological forecasts and reservoir elevations would have continued to decline if not for the Basin state contributions, particularly California’s commitments. California reductions, or the potential for regulatory reductions by the Secretary of the Interior post 2026 remain undefined as of the date of this water supply assessment for Project/Facility .

IID is working diligently with federal agencies and Colorado River contractors to minimize impacts to the local community.  In this vein, IID recognizes the need for significant response actions to protect the long-term water supply certainty for the Imperial Valley as the Colorado River operates under these unprecedented conditions. On October 5, 2022 the Colorado River Board of California, in partnership with representatives of the four primary California Section 5 contractors (IID, Palo Verde Irrigation District, Coachella Valley Water District and Metropolitan Water District of Southern California) submitted a letter to the Department of Interior proposing for California to conserve up to an additional 400,000 AF of water in Lake Mead each year, beginning in 2023 and extending through 2026, to assist with stabilizing Colorado River reservoir elevations.  IID has entered into an agreement with Reclamation for its share of the California proposal that would not exceed 300,000 AFY. IID proposes to conserve its contribution to Lake Mead via system and on-farm efficiency conservation and short-term, deficit irrigation (seasonal fallowing).

# Project Water Availability for a 20-Year Period to Meet Projected Demands

The proposed Project will obtain drinking water from Public water system or lead agency a certified State of California provider.    Describe project details related to proposed/anticipated project water use

Untreated Colorado River water will be supplied to the project via the adjacent canal or lateral name under a(n) type of  water agreement with IID. Describe current land use, CUP needs, whether receiving water from IID, and delivery gate condition. State whether on-site water use will increase or decrease with implementation of proposed project .

Applicable only if Solar: As noted previously, under the terms of California legislation adopted to facilitate the QSA/Transfer Agreements and enacted in CWC Section 1013, the IID board adopted the TLCFP to address how to deal with any temporary reduction of water use by projects such as solar projects that are developed under a CUP.

While conserved water generated from the TLCFP is limited by law for use for water transfer or environmental purposes, by satisfying multiple district objectives the TLCFP serves to reduce the need for efficiency conservation and other water use reduction practices on the part of IID and its water users providing the district with wide benefits.  One of the considerations in developing the TLCFP was to provide agricultural land owners with long-term assurances from IID that, at Project termination, irrigation service would be available for them to resume farming operations.

IWSP Water

The IWSP, provided herein as Attachment A, designates up to 25,000 AFY of water for potential conservation for Non-Agricultural Projects within IID's water service area.  As of January 2025, IID has up to 18,620  AFY that it may make available for conservation under the IWSP for new projects such as the proposed Project.  The IWSP establishes a schedule for Processing Fees, Reservation Fees, and Development Fees that change each year for all non-agricultural projects, and annual Water Supply Development fees for some non-agricultural projects. The proposed Project’s water use will be subject to the annual Water Supply Development fee if IID determines that water for the Project is to be supplied under the IWSP.

Given the Colorado River conditions, the likelihood that IID will not receive its annual 3.1 MAF apportionment less QSA/Transfer Agreement obligations of Colorado River water is no longer low despite the high priority of the IID entitlement relative to other Colorado River contractors, see IID’s Water Rights section on page 23 and projected water supplies. Given the prolonged drought conditions and recent communication from the Department of the Interior, reductions to all basin contractors, including IID, are increasingly likely.  If such obligatory reductions were to come into effect within the 20-year Project life, the Applicants are to work with IID to ensure any anticipated reduction can be managed.

The Public water system or lead agency  as the lead agency has a responsibility to determine if the current and projected demands and water supply conditions, including projected uncertainties of Colorado River hydrology are sufficient to enable  the Public water system or lead agency   to make the findings necessary to approve this WSA.  IID, like any water provider, has jurisdiction to manage the water supply within its service area and impose conservation measures during a period of temporary water shortage, such as the one we are experiencing now.

Include if applicable: Furthermore, without the proposed Project’s replacement of agricultural land with Project/Facility  , IID’s task of managing water supply under the QSA/Transfer Agreements and any other voluntary contributions to Lake Mead would be lighter, because agricultural water use on the proposed Project site is significantly higher than the proposed water demand for the proposed Project as explained in the Expected Water Demands for the Proposed Project on the section that follows.

Water for construction (primarily for dust control) would be obtained from IID canals or laterals in conformance with IID rules and regulations for MCI temporary water use. Water would be picked up from a nearby canal or lateral and delivered to the construction location by a water truck capable of carrying approximately 4,000 gallons per load. To obtain water delivery service, the Project proponent will complete an IID-410 Certificate of Ownership and Authorization (Water Card), which allows the Water Department to provide the district with information needed to manage the district apportioned water supply.  Water cards are used for Agriculture, Municipal, Industrial and Service Pipe accounts.  If water is to be provided under IWSP in addition to the established delivery charges, the Applicant may also need to enter into a IWSP Water Supply Agreement.

# Expected Water Demands for the Proposed Project

Water for the proposed Project will be needed on-site for describe uses – operational uses.  Untreated Colorado River water will be supplied to the project via the adjacent canal or lateral name under a(n) type of  water agreement with IID. Describe current land use, whether receiving water from IID, and delivery gate condition. State whether on-site water use will increase or decrease with implementation of proposed project .

Projected water use by Project/Facility  are summarized in Table 14.

Table 14. Project Operational Water Uses (AFY)

| Use | Acre-Feet per Year | Total AF Over 20-Year Term |
| --- | --- | --- |
| Water for Landscape Irrigation* | Amount | Amount |
| Water for Dust Control* | Amount | Amount |
| Water for Type of Use | Amount | Amount |
| Water for Type of Use | Amount | Amount |
| Water for Type of Use | Amount | Amount |
| Water for Type of Use | Amount | Amount |
| TOTAL RAW WATER USAGE | Total Amount | Total Amount |

* Category required.  Insert “0” if not applicable for the proposed project.

As of the date of this WSA, IID delivers untreated Colorado River water to the proposed Project site for agricultural uses through the following gates and laterals.  The 10-year record for 2015-2024 of water delivery accounting is shown in Table 15.  The data documents a 10-year  Amount AFY average.

Table 15. Ten-Year Historic Delivery (AFY), 2015-2024

| Canal/Gate | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Type of Use | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount |
| Type of Use | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount |
| Type of Use | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount |
| Type of Use | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount |
| Type of Use | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount |
| Type of Use | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount |
| TOTAL | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount |

Source:  IID Staff, 2025 (Owner to Fill Out Request Form)

The proposed Project has an estimated total operational water demand of Amount AF or Amount AFY amortized over a 20-year term. Thus, the proposed Project demand is a  Choose an item.of Amount AFY from the historical 10-year average or Amount percent (Amount %) Choose an item. than the historic 10-year average annual delivery for agricultural uses at the proposed Project site. The proposed Project’s estimated operational water demand represents only Amount percent (Amount%) of the 18,620  AFY balance of water supply that may be available for contracting under the IWSP.

# IID’s Ability to Meet Demands With Water Supply

Under normal operating conditions, non-agricultural water demands for the IID water service area are projected for 2025-2055 in Table 5, and IID agricultural demands including system operation are projected for 2025-2055 in Table 6, all volumes within the IID water service area. IID water supplies available for consumptive use after accounting for mandatory transfers are projected to 2077 in Table 11 Column 11), volumes at Imperial Dam.

To assess IID’s ability to meet future water demands, IID historic and forecasted demands are compared with CRWDA Exhibit B net availability under its water supply entitlement, volumes at Imperial Dam Table 11 (Column 11). The analysis requires accounting for system operation consumptive use within the IID water service area, from AAC at Mesa Lateral 5 to Imperial Dam, and for water pumped for use by the USBR Lower Colorado Water Supply Project (LCRWSP), an IID consumptive use component in the USBR Decree Accounting Report. IID system operation consumptive use for 2020 is provided in Table 16 to show the components to be included in the calculation of 2024 volumes in comparison to 2020.

Table 16. IID System Operations Consumptive Use within IID Water Service Area and from AAC at Mesa Lateral 5 to Imperial Dam, (KAF), 2024

|  | 2020 Operational Consumptive Use (KAF) | 2024 Operational Consumptive Use (KAF) |
| --- | --- | --- |
| IID Delivery System Evaporation | 24.4 | 25.2 |
| IID Canal Seepage | 90.8 | 94.9 |
| IID Main Canal Spill | 10.1 | 8.4 |
| IID Lateral Canal Spill | 121.5 | 112.9 |
| IID Seepage Interception | -39.0 | -8.9 |
| IID Unaccounted Canal Water | -40.0 | -154.2 |
| Total IID System Operational Use, within water service area | 167.8 | 85.0 |
| “Losses” from AAC @ Mesa Lat 5 Dam (Station 1117-2900) | 9.2 | 28.5 |
| LCWSP pumpage | -10 | -10.0 |
| Total System Operational Use in 2020 and 2024 | 167.0 | 103.5 |

Sources:  2024 IID Preliminary Numbers from Selected Flow Paths developed 3/25/2025

Notwithstanding any regulatory water supply cuts from the Secreatry of Interior, IID’s ability to meet customer water demands through 2055 as shown in Table 17 is based on the following:

- Non-agricultural use from Table 5.

- Agricultural and Salton Sea mitigation uses from Table 6.

- CRWDA Exhibit B net available for IID consumptive use from Table 11.

- System operation consumptive use from Table 16 for 2020.

Table 17. IID Historic and Forecasted Consumptive Use vs CRWDA Exhibit B IID Net Available Consumptive Use, volumes at Imperial Dam (KAFY), 2015-2055 Next Update in 2026 thru 2055

|  | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Non-Ag Delivery | 107.4 | 113.2 | 133.1 | 142.9 | 151.4 | 163.2 | 175.4 | 188.4 | 199.3 |
| Ag Delivery | 2,158.9 | 2,165.4 | 2,259.5 | 2,209.5 | 2,209.5 | 2,209.5 | 2,209.5 | 2,209.5 | 2,209.5 |
| QSA SS Mitigation Delivery | 153.3 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| System Op CU in IID & to Imperial Dam | 61.3 | 167.0 | 230.5 | 225.4 | 225.4 | 225.4 | 225.4 | 225.4 | 225.4 |
| IID CU at Imperial Dam | 2,488.2 | 2,503.6 | 2,623.1 | 2,577.8 | 2,586.3 | 2,598.1 | 2,610.3 | 2,623.3 | 2,634.2 |
| Conservation in Excess of Exhibit B | 45.5 | 51.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Total IID CU | 2,533.6 | 2,554.6 | 2,623.1 | 2,577.8 | 2,586.3 | 2,598.1 | 2,610.3 | 2,623.3 | 2,634.2 |
| Exhibit B IID Net Available for CU at Imperial Dam (adjusted PPR’s 2015/2020) | 2,623.7 | 2,652.7 | 2,617.8 | 2,612.8 | 2,612.8 | 2,612.8 | 2,612.8 | 2,665.8 | 2,665.8 |
| 2015 & 2020 Actual and 2025-2055 Projected IID Underrun (-)/Overrun at Imperial Dam | -90.02 | -98.07 | 5.30 | -35.00 | -26.50 | -14.70 | -2.50 | -42.50 | -31.60 |

Notes:  2015 and 2020 have been updated to reflect actual consumptive use with respective USBR decree accounting adjustments

Non-Ag Delivery CI 15.0%, Ag Delivery CI 3.0%, QSA SS mitigation CI 15%

QSA Salton Sea Mitigation Delivery terminated on 12/31/2017

Underrun /Overrun = IID  CU at Imperial Dam minus CRWDA Exhibit B Net Available

Notes: Ag Delivery for 2025-2055 does not take into account land conversion for solar use nor reduction in agricultural land area due to urban expansion.

As shown above, IID forecasted demand has the potential to exceed CRWDA Exhibit B Net Consumptive Use volumes during several time intervals through the lifespan projection for the Project.  However, due to temporary land conversion for solar use and urban land expansion that will reduce agricultural acres in the future, a water savings of approximately 217,000 AFY will likely be generated into the future and for the lifetime of the proposed Project, assuming no regulatory cutbacks are enforced upon IID.

In addition, USBR 2020 Decree Accounting Report states that IID Consumptive Use was 2,493.7 KAF (excludes 1,579 AF of ICS for storage in Lake Mead and an additional 49,444 AF of conserved water left on the Colorado River system) with an underrun of -98.1 KAF, as reported by IID in 2020 Annual SWRCB Report per WRO 2002-2013; that is, IID uses less than the amount in its approved Water Order (2,615,300 AF).

Table 18. 2020 Approved Water Order, Actual CU (Decree Accounting Report) and IID Underrun, KAF at Imperial Dam

| IID Approved Water Order | 2,625.3 less 10 supplied by LCWSP and less 26 of additional conserved water |
| --- | --- |
| IID Consumptive Use | 2,493.7 |
| IID Underrun /Overrun | -98.1 |
| Sources: 2020 IID Revised Water Order, approved on March 10, 2020, 2020 Decree Accounting Report, and 2020 Annual Report of IID Pursuant to SWRCB Revised Order WRO 2002-2013 |  |

As reported in the 2023 Annual Water & QSA Implementation Report and 2024 SWRCB Report and presented in Table 12, from 2013 to 2024 IID consumptive use (CU) resulted in underruns; i.e., annual CU was less than the district’s QSA Entitlement of 3.1 MAFY minus QSA/Transfer Agreements obligations. This would indicate that even though Table 17 shows IID Overrun/Underrun at Imperial Dam not exceeding CRWDA Exhibit B Net Available for CU, for the 30-year life of the proposed Project, IID consumptive use may be less than forecasted.

Meanwhile, forecasted Ag Delivery reductions presented in Table 6 are premised on implementation of on-farm practices that will result in efficiency conservation. These reductions do not take into account land conversion for solar projects nor reduction in agricultural land area due to urban expansion; that is to say, the forecasted Ag Delivery is for acreage in 2003 with reduction for projected on-farm conservation efficiency. Thus, Ag Delivery demand may well be less than forecasted in Table 6. In any case, the proposed Project will use less water than the historical agricultural demand of proposed Project site, so the proposed Project will ease rather than exacerbate overall IID water demands (as applicable).

In the event that IID has issued water supply agreements that exhaust the 25 KAFY IWSP set aside for conservation, and  it becomes apparent that IID delivery demands due to non-agriculture use are going to cause the district to exceed its quantified 3.1 MAFY entitlement less QSA/Transfer Agreements obligations, IID has identified options to meet these new non-agricultural demands. These options include (1) tracking water yield from temporary land conversion from agricultural to non-agricultural land uses (renewable solar energy); and (2) only if necessary, developing conservation strategies and projects to expand the size of the district’s water supply portfolio.

These factors will be discussed in the next two sections, Tracking Water Savings from Growth of Non-Agricutural Land Uses and Expanding Water Supply Portfolio.

### Tracking Water savings from Growth of Non-Agricultural Land Uses

The Imperial County Board of Supervisors has targeted up to 25,000 acres of agricultural lands, about 5 percent (5%) of the farmable acreage served by IID, for temporary conversion to solar farms; because the board found that this level of reduction would not adversely affect agricultural production. As reported for IID’s Temporary Land Conversion Fallowing Program, existing solar developments at the end of 2024 have converted 13,307 acres of farmland. Solar projects had a total yield at-river of 72,320 AF of water in 2024. The balance of the 25,000-acre agriculture-to-solar policy is 11,693 acres. On average, each agricultural acre converted reduces agricultural demand by 5.1 AFY, which results in a total at-river yield (reduction in consumptive use) of 127,500 AFY.

However, due to the nature of the conditional use permits under which solar farms are developed, IID cannot rely on this supply being permanently available. In fact, should a solar project decommission early, that land may go immediately back to agricultural use (it remains zoned an agricultural land). Nevertheless, during their operation, the solar farms do ameliorate pressure on IID to implement projects to meet demand from new non-agricultural projects.

Unlike the impact of solar projects, other non-agricultural uses are projected to grow, as reflected in the nearly 85.6 percent (85.6%) increase in non-agricultural water demand from 107.4 KAF in 2015 to 199.3 KAF in 2055 reflected herein in Table 17. Although state mandated water conservation goals to municipalities has curtailed the upward trend, Table 17 continues to depict a conservative scenario. This increase in demand of 92 KAFY is likely to be offset by reductions in agricultural lands; however, as the land remains zoned as agricultural land, that source is not reliable to be permanently available to IID.

The amount of land developed for residential, commercial, and industrial purposes is projected to grow by 55,733 acres from 2015 to 2050 within the sphere of influence of the incorporated cities and specific plan areas in Imperial County.  A conservative estimate is that such development will displace at least another 24,500 acres of farmland based on the Imperial Local Agency Formation Commission (LAFCO) sphere of influence maps and existing zoning and land use in Imperial County.  At 5.13 AFY yield at-river, there would be a 125,000 AFY reduction IID net consumptive use.  However, the total acreage from actual annexations that have resulted in reductions to agricultural acreage between 2015 and 2024 has been 2,224 acres, according to IID’s annual inventory of total farmable land which is consistent with the acreage gain to non-agricultural land uses (2,224 acres) and based off of annexation records obtained through the Imperial County Local Agency Formassion Commission. This shift in acreage documents a growth rate of approximately 50 percent of the originally projected rate.

The total foreseeable solar project temporary yield at-river (91,800 AFY) and municipal development permanent yield at-river, conservatively adjusted (65,000 AFY) is to reduce forecasted IID net consumptive use at-river 156,800 AFY, which is more than enough to meet the forecast demand minus Exhibit B Net Available volumes shown in Table 17.  This yield at-river is sufficient to meet the forecasted excess of non-agricultural use over Net Available supply within the IID service area for the next 20 years, as is required for SB 610 analysis (assuming there are no regulatory cuts to IID’s full entitlement).

Farmland retirement associated with municipal development would reduce IID agricultural delivery requirements beyond the efficiency conservation projections shown Table 6. Therefore, in the event that Schedule 7 General Industrial Use water has exhausted its apportioned amount, the Applicants will rely on IID IWSP water to supply the Project, as discussed above in the Projected Water Availability section.

## Expanding Water Supply Portfolio

The proposed Project, as a new non-agricultural development, may need to enter into a water supply agreement with IID.  Upon agreement, the District will procure or develop a water supply for the Project at its sole discretion, which may include policy changes, construction of water conservation projects and/or the implementation or expansion of water conservation programs.  Any costs associated with this water supply development will be the responsibility of the Project Owner, as outlined in the corresponding water supply agreement, along with other terms and conditions including the requisite environmental permitting.

While forecasted long-term annual yield-at-river from the reduction in agricultural acreage due to municipal development in the IID service area may be sufficient to meet the forecasted excess of non-agricultural use over CRWDA Net Available supply (Table 17) without regulatory cuts and without expanding IID’s Water Supply Portfolio, IID has also evaluated the feasibility of a number of capital projects to increase its water supply portfolio.

As reported in 2012 Imperial IRWMP Chapter 12, IID contracted with GEI Consultants, Inc. to identify a range of capital project alternatives that the district could implement. Qualitative and quantitative screening criteria and assumptions were developed in consultation with IID staff. Locations within the IID water service area with physical, geographical, and environmental characteristics most suited to implementing short- and long-term alternatives were identified. Technical project evaluation criteria included volumes of water that could be delivered and/or stored by each project, regulatory and permitting complexity, preliminary engineering components, land use requirements, and costs.

After preliminary evaluation, a total of 27 projects were configured:

- 17 groundwater or drain water desalination

- 2 groundwater blending

- 6 recycled water

- 1 groundwater banking

- 1 IID system conservation (concrete lining)

Projects were assessed at a reconnaissance level to allow for comparison of project costs. IID staff and the board identified key factors to categorize project alternatives and establish priorities. Lower priority projects were less feasible due to technical, political, or financial constraints. Preferential criteria were features that increased the relative benefits of a project and grant it a higher priority.  Four criteria were used to prioritize the IID capital projects:

- Financial Feasibility. Projects whose unit cost was more than $600/AF were eliminated from further consideration.

- Annual Yield. Project alternatives generating 5,000 AF or less of total annual yield were determined not to be cost-effective and lacking necessary economies of scale.

- Groundwater Banking. Groundwater banking to capture and store underruns is recognized as a beneficial use of Colorado River water. Project alternatives without groundwater banking were given a lower priority.

- Partnering. Project alternatives in which IID was dependent on others (private and/or public agencies) for implementation were considered to have a lower priority in the IID review; this criterion was reserved for the IRWMP process, where partnering is a desirable attribute.

Based on these criteria, the top ten included six desalination, two groundwater blending, one system conservation, and one groundwater storage capital projects.  These capital projects are listed in Table 19 which follows.  Some of these project alternatives have proven to no longer be feasible due to technical and/or environmental constraints and have been stricken. Project WB-1 was determined to not be desirable.

Table 19. IID Capital Project Alternatives and Cost (May 2009 price levels $)

| Name | Description | Capital Cost | O&M Cost | Equivalent Annual Cost | Unit Cost ($/AF) | In-Valley Yield (AF) |
| --- | --- | --- | --- | --- | --- | --- |
| GW 18¹ | Groundwater Blending E. Mesa Well Field Pumping to AAC | $39,501,517 | $198,000 | $2,482,000 | $99 | 25,000 |
| GW 19¹ | Groundwater Blending: E. Mesa Well Field Pumping to AAC w/Percolation Ponds | $48,605,551 | $243,000 | $3,054,000 | $122 | 25,000 |
| WB 1 | Coachella Valley Groundwater Storage | $92,200,000 | $7,544,000 | $5,736,746 | $266 | 50,000 |
| DES 8 | E. Brawley Desalination with Well Field and Groundwater Recharge | $100,991,177 | $6,166,000 | $12,006,000 | $480 | 25,000 |
| AWC 1 | IID System Conservation Projects (concrete lining) | $56,225,000 | N/A | $4,068,000 | $504 | 8,000 |
| DES 12¹ | East Mesa Desalination with Well Field and Groundwater Recharge | $112,318,224 | $6,336,000 | $12,831,000 | $513 | 25,000 |
| DES 4 | Keystone Desalination with IID Drainwater/ Alamo River | $147,437,743 | $15,323,901 | $23,849,901 | $477 | 50,000 |
| DES 14² | So. Salton Sea Desalination with Alamo River Water and Industrial Distribution | $158,619,378 | $15,491,901 | $24,664,901 | $493 | 50,000 |
| DES 15² | So. Salton Sea Desalination with Alamo River Water and MCI Distribution | $182,975,327 | $15,857,901 | $26,438,901 | $529 | 50,000 |
| DES 2 | Keystone Desalination with Well Field and Groundwater Recharge | $282,399,468 | $13,158,000 | $29,489,000 | $590 | 50,000 |

Source: Imperial IRWMP, Chapter 12; see also Imperial IRWMP Appendix N, IID Capital Projects

¹	Pumping on the East Mesa via Well Fields was assessed by IID and it was determined that the area is not condusive of groundwater recovery due to the geological conditions in the area and/or environmental challenges.

²  	It has been demonstrated over time that any reduction in Salton Sea water could result in environmental impacts related to existing biological resources, air quality and other potential adverse community impacts.  Salton Sea water desalination for redistribution to industrial and/or municipal use is not being persued at any level.

## IID Near Term Water Supply Projections

As mentioned above, IID’s quantified Priority 3(a) water right under the QSA/Transfer Agreements secures 3.1 MAF per year, less transfer obligations of water for IID’s use from the Colorado River, without relying on rainfall in the IID service area.   Even with this strong entitlement to water, IID actively promotes on-farm efficiency conservation and is implementing system efficiency conservation measures including seepage recovery from IID canals and the All-American Canal (ACC) and measures to reduce operational discharge.  As the IID website Water Department states:

Through the implementation of extraordinary conservation projects, the development of innovative efficiency measures and the utilization of progressive management tools, the IID Water Department is working to ensure both the long-term viability of agriculture and the continued protection of water resources within its service area.

Overall, agricultural water demand in the Imperial Valley will decrease due to IID system and grower on-farm efficiency conservation measures that are designed to maintain agricultural productivity at pre-QSA levels while producing sufficient yield-at-river to meet IID’s QSA/Transfer Agreements obligations. These efficiencies combined with the conversion of some agricultural land uses to non-agricultural land uses (both solar and municipal), ensure that IID can continue to meet the water delivery demand of its existing  non-agricultural water users.  and future agricultural and non-agricultural water users, including this Project for the next 20 years and for the life of the proposed Project under a water supply consistent with the district’s full entitlement.

# Public water system or lead agency (Lead Agency) Findings

IID serves as the regional wholesale water supplier, importing raw Colorado River water and delivering it, untreated, to agricultural, municipal, industrial, environmental and recreational water users within its water service area.  Public water system or lead agency serves as the responsible agency with land use authority over the proposed project.  Public water system or lead agency Water Assessment findings are summarized as follows, based on the information contained herein and as supported by IID water supply data:

- IID’s annual entitlement to consumptive use of Colorado River water is capped at 3.1 MAF less water transfer obligations, pursuant to the QSA and Related Agreements. Under the terms of the CRWDA, IID is implementing efficiency conservation measures to reduce net consumptive use of Colorado River water needed to meet its QSA/Transfer Agreements obligations while retaining historical levels of agricultural productivity.

- In 2024 IID consumptively used 2,311,905 AF of Colorado River water (volume at Imperial Dam); 2,103,768 AF were delivered to customers (including recreational and environmental water deliveries) of which 1,991,796 AF, or 95 percent, went to agricultural users as per IID’s Provisional Water Balance of Selected Flow Paths run on 3/28/2025.

- Reduction of IID’s net consumptive use of Colorado River water under the terms of the Colorado River Water Delivery Agreement is to be the result of efficiency conservation measures. Crop water use in the Imperial Valley will not decline under these conditions, however IID operational spill and tailwater from field runoff will decline as efficiency conservation measures are implemented, impacting the Salton Sea.

- The dependability of IID’s water rights, Colorado River flows, and Colorado River storage facilities for Colorado River water alone are not sufficient to assure water availability for the Project. The prolonged drought conditions on the Colorado River Basin have made it  increasingly likely that the water supply of IID may be disrupted, in dry years or/and under shortage conditions. Mexico, Arizona and Nevada, which have lower priority than IID, have already experienced Tier 1 and/or Tier 2a reductions in 2022, 2023 and 2024 as a result of the declared Colorado River water shortage.

- Due to ongoing Colorado River drought conditions, Lake Mead’s declining elevation, reduced inflows from Lake Powell, and the suspension of the federal Inadvertent Overrun and Payback Policy, which eliminates IID’s ability to overrun its 3.1 MAF annual entitlement during water shortage conditions, the IID Board has implemented an annual apportionment program (otherwise known as the Equitable Distribution Plan or EDP).

- IID’s EDP apportions the available water supply among all its water users equitably and among three water user categories based on historical use:  1) agricultural water users, 2) commercial/industrial water users, and 3) potable water users.  Apportionment into these categories as a whole is initiated after deducting from the available water supply water for operational system needs, system conservation yields, environmental mitigation requirements, recreational uses, and similar unmeasured small pipe account water uses.  See Attachment B -Equitable Distribution Plan.

- Historically, IID has never been denied the right to use the annual volume of water it has available for its consumptive uses under its entitlement. Nevertheless, IID is participating in discussions for possible actions in response to continued extreme drought on the Colorado River.

- The proposed Project has an estimated total operational water demand of Amount AF or Amount AFY amortized over a 20-year term (for all delivery gates for the Project). Thus, the proposed Project demand is a Amount Choose an item. of Amount AFY from the historical 10-year average or Amount percent (Amount %), Amount Choose an item. from the historic 10-year average annual delivery for agricultural uses at the proposed Project site.

- The Project’s water delivery will be covered under the Schedule 7 General Industrial Use. In the event that IID determines that the proposed Project is to utilize IWSP for Non-Agricultural Projects water, the Applicant will also need to enter into an IWSP Water Supply Agreement with IID.  In which case, the proposed Project would use Amount percent (Amount%) of the 18,620  AFY of IWSP water.

- The Project Choose an item.  required to enter into a Water Supply Agreement with IID for the   Amount AFY of projected water demand.  Under any fully executed water supply agreement, IID has the capacity to procure or develop water supplies for the Project throught the implementation of policies, the construction of water conservation projects and/or the implementation or expansion of water conservation programs.  Any costs associated with this water supply development will be the responsibility of the Project Owner, as outlined in the corresponding water supply agreement, along with other terms and conditions, including the requisite environmental permitting.

- Based on the Environmental Impact Report (EIR) prepared for this proposed Project pursuant to the CEQA, California Public Resources Code sections 21000, et seq. (SCH No. ______), Public water system or lead agency hereby finds that the IID projected water supply, together with water conservation measures required, Choose an item. sufficient to satisfy the demands of this proposed Project in addition to existing and planned future uses, including agricultural and non-agricultural uses for a 20-year Water Supply Assessment period.

# Assessment Conclusion

This Water Supply Assessment has determined that IID water supply is/is not adequate for the Project/Facility   (proposed Project). The Imperial Irrigation District’s IWSP for Non-Agricultural Projects may dedicate up to 25,000 AF of IID’s annual conserved water supply to serve new projects. As of January 2025, a total of 18,620   AF per year remain available for conservation for new projects providing reasonably sufficient supplies for new non-agricultural water users that enter into a Water Supply Agreement with IID.  Public water system or lead agency  estimates a cumulative, non-agricultural project water supply demand demand increase of up to XXXX AFY within the foreseeable 20-year planning period, within its jurisdiction. However, all new non-agricultural projects, including Project/Facility , are required to mitigate their respective water supply demand via conservation programs or conservation projects in order to receive future water apportionments.

New, non-agricultural projects may be susceptible to delivery cutbacks when an EDP Apportionment is exhausted, thus all approved projects require best management practices and  water use efficiency at all times.  Given the prolonged drought conditions and recent communication to IID from the Department of the Interior, reductions to all basin cotractors, including IID and its water customers, are increasingly likely.  If such reductions were to come into effect within an approved project’s operation, the Project/Facility are to work with IID to ensure any anticipated reduction can be managed via the means identified herein or other equivalent measures.

Under an authorized water supply agreement, Project/Facility  will be required to acknowledge and accept as a condition of water service that to the extent that IID receives an order or directive from a governmental authority, having appropriate jurisdiction, that reduces the total volume of water available to IID from the Colorado River during all or any part of their water service agreement, IID may reduce the water service agreement amount, as directed by the IID Board, as a proportionate reduction of the total volume of water available to IID.  This reduction is separate from and in addition to any allocation authorized pursuant to the EDP.

The Project’s operational water demand of approximately XXXX AFY represents  XX.X % of the unallocated supply that may be set aside for additional conservation and contracting under the IWSP for non-agricultural projects, and approximately XXXX percent (XXXX %) of forecasted future non-agricultural water demands planned in the Imperial IRWMP through 2055. The water demand for the proposed Project represents a XXXX % Choose an item. from the 10-year average historic average agricultural water use for 2015-2024 at the proposed Project site, a Choose an item. in water use of XXXX AFY at full build-out.

For all the reasons described herein, the historical stability of the IID water supply, the amount of foreseeable water available, along with on-farm and system efficiency conservation and other measures being undertaken by IID and its customers suggest that Project/Facility  ’s water needs Choose an item. be reasonably met for the next 20 years as assessed for compliance under SB-610.

# Resources and References

  - California Department of Water Resources. (2003). Guidebook for Implementation of Senate Bill 610 and Senate Bill 221 of 2001 to assist water suppliers, cities, and counties in integrating water and land use planning.

  - Imperial County Planning and Development Services. (2008). Imperial County General Plan 2008 Update. El Centro, CA. General Plan | Imperial County Planning & Development Services (icpds.com), retrieved, 2021

  - Imperial Irrigation District. Website: Equitable Distribution Plan.

  - Imperial Irrigation District Website: 2021 Water Conservation Plan. (2021). Imperial Irrigation District 2021 Water Conservation Plan. Imperial, CA.

  - Imperial Irrigation District. (2024). IID Interactive GIS Water Service Area Map. Imperial, CA.

  - Imperial Irrigation District. (2009). Interim Water Supply Policy for Non-Agricultural Projects. Imperial, CA

  - Imperial Irrigation District.  (2012).  Temporary Land Conversion Fallowing Policy (TLFCP) for Water Conservation  Yield Water conservation yield attributable to land removed from agricultural production and temporarily fallowed.   Updated March 27, 2018.

  - Imperial Irrigation District Water Department. (2013). Colorado River Water Accounting and. Conservation Commitments Update. Tina Anderholt Shields, PE. Colorado River Resources Manager Imperial, CA.

  - Imperial Irrigation District.  (2023). 2023 Water & QSA Implementation Report, Imperial, CA

  - Imperial Irrigation District. (2021). Consultation with Justina Gamboa-Arce., Water Conservation Planner. Imperial, CA.

  - Imperial Irrigation District.  (2021).  Temporary Land Fallowing Conversion Policy. (TLFCP).

  - Imperial Irrigation District. (2024). 2024 IID SWRCB Report.

  - United States Bureau of Reclamation Lower Colorado Region Website: Boulder Canyon Operations Office – Programs and Activities, Lower Colorado River Water Accounting, Water Accounting Reports (1964 - 2015). Compilation of Records in Accordance with Article V of the Decree of the Supreme Court of the United States in Arizona v. California Dated March 9, 1964: Calendar Years 1964 - 2015 Boulder City, NV.

# Attachments

Attachments

Attachment A: IID Interim Water Supply Policy for Non-Agricultural Projects

Attachment B: IID 2023 Equitable Distribution Plan, revised July 26, 2023 (retrieve from iid.com)

(This page intentionally left blank)

Attachment A: IID Interim Water Supply Policy for Non-Agricultural Projects25F

1.0	Purpose.

Imperial Irrigation District (the District) is developing an Integrated Water Resources Management Plan (IWRMP) 26F  that will identify and recommend potential programs and projects to develop new water supplies and new storage, enhance the reliability of existing supplies, and provide more flexibility for District water department operations, all in order to maintain service levels within the District's existing water service area.  The first phase of the IWRMP is scheduled to be completed by the end of 2009 and will identify potential projects, implementation strategies and funding sources.  Pending development of the IWRMP, the District is adopting this Interim Water Supply Policy (IWSP) for Non-Agricultural Projects, as defined below, in order to address proposed projects that will rely upon a water supply from the District during the time that the IWRMP is still under development.  It is anticipated that this IWSP will be modified and/or superseded to take into consideration policies and data developed by the IWRMP.

2.0	Background.

The IWRMP will enable the District to more effectively manage existing water supplies and to maximize the District's ability to store or create water when the available water supplies exceed the demand for such water.  The stored water can be made available for later use when there is a higher water demand.  Based upon known pending requests to the District for water supply assessments/verifications and pending applications to the County of Imperial for various Non-Agricultural Projects, the District currently estimates that up to 50,000 acre feet per year (AFY) of water could potentially be requested for Non-Agricultural Projects over the next ten to twenty years.  Under the IWRMP the District shall evaluate the projected water demand of such projects and the potential means of supplying that amount of water.  This IWSP currently designates up to 25,000 AFY of water for potential Non-Agricultural Projects within IID's water service area.  Proposed Non-Agricultural projects may be required to pay a Reservation Fee, further described below.  The reserved water shall be available for other users until such Non-Agricultural projects are implemented and require the reserved water supply. This IWSP shall remain in effect pending the approval of further policies that will be adopted in association with the IWRMP.

3.0	Terms and Definitions.

3.1	Agricultural Use.  Uses of water for irrigation, crop production and leaching.

3.2	Connection Fee.  A fee established by the District to physically connect a new Water User to the District water system.

3.3	Industrial Use.  Uses of water that are not Agricultural or Municipal, as defined herein, such as manufacturing, mining, cooling water supply, energy generation, hydraulic conveyance, gravel washing, fire protection, oil well re-pressurization and industrial process water.

3.4	Municipal Use.  Uses of water for commercial, institutional, community, military, or public water systems, whether in municipalities or in unincorporated areas of Imperial County.

3.5	Mixed Use.  Uses of water that involve a combination of Municipal Use and Industrial Use.

3.6	Non-Agricultural Project.  Any project which has a water use other than Agricultural Use, as defined herein.

3.7	Processing Fee.  A fee charged by the District Water Department to reimburse the District for staff time required to process a request for water supply for a Non-Agricultural Project.

3.8	Reservation Fee.  A non-refundable fee charged by the District when an application for water supply for a Non-Agricultural Project is deemed complete and approved.  This fee is intended to offset the cost of setting aside the projected water supply for the project during the period commencing from the completion of the application to start-up of construction of the proposed project and/or execution of a water supply agreement.  The initial payment of the Reservation Fee will reserve the projected water supply for up to two years. The Reservation Fee is renewable for up to two additional two-year periods upon payment of an additional fee for each renewal.

3.9	Water Supply Development Fee.  An annual fee charged to some Non-Agricultural Projects by the District, as further described in Section 5.2 herein.  Such fees shall assist in funding IWRMP or related water supply projects,

3.10	Water User.  A person or entity that orders or receives water service from the District.

4.0.	CEQA Compliance.

4.1	The responsibility for CEQA compliance for new development projects within the unincorporated area of the County of Imperial attaches to the County of Imperial or, if the project is within the boundaries of a municipality, the particular municipality, or if the project is subject to the jurisdiction of another agency, such as the  California Energy Commission, the particular agency.  The District will coordinate with the County of Imperial, relevant municipality, or other agency to help ensure that the water supply component of their respective general plans is comprehensive and based upon current information.  Among other things, the general plans should assess the direct, indirect and cumulative potential impacts on the environment of using currently available water supplies for new industrial, municipal, commercial and/or institutional uses instead of the historical use of that water for agriculture.  Such a change in land use, and the associated water use, could potentially impact land uses, various aquatic and terrestrial species, water quality, air quality and the conditions of drains, rivers and the Salton Sea.

4.2	When determining whether to approve a water supply agreement for any Non-Agricultural Project pursuant to this IWSP, the District will consider whether potential environmental and water supply impacts of such proposed projects have been adequately assessed, appropriate mitigation has been developed and appropriate conditions have been adopted by the relevant land use permitting/approving agencies, before the District approves any water supply agreement for such project.

5.0.	Applicability of Fees for Non-Agricultural Projects.27F

5.1	Pursuant to this Interim Water Supply Policy, applicants for water supply for a Non-Agricultural Project shall be required to pay a Processing Fee and may be required to pay a Reservation Fee as shown in Table A.  All Water Users shall also pay the applicable Connection Fee, if necessary, and regular water service fees according to the District water rate schedules, as modified from time to time.

5.2	A Non-Agricultural Project may also be subject to an annual Water Supply Development Fee, depending upon the nature, complexity, and water demands of the proposed project.  The District will determine whether a proposed Non-Agricultural Project is subject to the Water Supply Development Fee for water supplied pursuant to this IWSP as follows:

5.2.1.	A proposed project that will require water for a Municipal Use shall be subject to an annual Water Supply Development Fee as set forth in Table B if the projected water demand for the project is in excess of the project’s estimated population multiplied by the District-wide per capita usage.  Municipal Use projects without an appreciable residential component will be analyzed under sub-section 5.2.3.

5.2.2.	A proposed project that will require water for an Industrial Use located in an unincorporated area of the County of Imperial shall be subject to an annual Water Supply Development Fee as set forth in Table B.

5.2.3.	The applicability of the Water Supply Development Fee set forth in Table B to Mixed Use projects, Industrial Use projects located within a municipality, or Municipal Use projects without an appreciable residential component, will be determined by the District on a case-by-case basis, depending upon the proportion of types of land uses and the water demand proposed for the project.

5.3.	A proposed Water User for  Non-Agricultural Projects may elect to provide some or all of the required water supply by paying for and implementing some other means of providing water in a manner approved by the District, such as conservation projects, water storage projects and/or use of an alternative source of supply, such as recycled water or some source of water other than from the District water supply.  Such election shall require consultation with the District regarding the details of such alternatives and a determination by the District, in its reasonable discretion, concerning how much credit, if any, should be given for such alternative water supply as against the project's water demand for purposes of determining the annual Water Supply Development Fee for such project.

5.4	The District Board shall have the right to modify the fees shown on Tables A and B from time to time.

6.	Water Supply Development Fees collected by the District under this IWSP shall be accounted for independently, including reasonable accrued interest, and such fees shall only be used to help fund IWRMP or related District water supply projects.

7.	Any request for water service for a proposed Non-Agricultural Project that meets the criteria for a water supply assessment pursuant to Water Code Sections 10910-10915 or a water supply verification pursuant to Government Code Section 66473.7 shall include all information required by Water Code Sections 10910 –10915 or Government Code Section 66473.7 to enable the District to prepare the water supply assessment or verification.  All submittals should include sufficient detail and analysis regarding the project’s water demands, including types of land use and per capita water usage, necessary to make the determinations outlined in Section 5.2.

8.	Any request for water service for a proposed Non-Agricultural Project that does not meet the criteria for a water supply assessment pursuant to Water Code Section 10910-10915 or water supply verification pursuant to Government Code Section 66473.7 shall include a complete project description with a detailed map or diagram depicting the footprint of the proposed project, the size of the footprint, projected water demand at full implementation of the project and a schedule for implementing water service.  All submittals should include sufficient detail and analysis regarding the project’s water demands, including types of land use and per capita water usage, necessary to make the determinations outlined in Section 5.2.

9.	All other District rules and policies regarding a project applicant or Water User's responsibility for paying connection fees, costs of capital improvements and reimbursing the District for costs of staff and consultant's time, engineering studies and administrative overhead required to process and implement projects remain in effect.

10.	Municipal Use customers shall be required to follow appropriate water use efficiency best management practices (BMPs), including, but not limited to those established by the California Urban Water Conservation Council BMP’s (see http://www.cuwcc.org/mou/exhibit-1-bmp-definitions-schedules-requirements.aspx) [https://calwep.org/our-work/conservation/bmp-guidebooks/], or other water use efficiency standards, adopted by the District or local government agencies.

11.	Industrial Use customers shall be required to follow appropriate water use efficiency BMP’s, including but not limited to those established by the California Urban Water Conservation Council and California Energy Commission, as well as other water use efficiency standards, adopted by the District or local government agencies.

12.	The District may prescribe additional or different BMPs for certain categories of Municipal and Industrial Water Users.

(This page intentionally left blank)

Attachment B:  IID Equitable Distribution Plan28F

Adopted December 11, 2007

Revised November 18, 2008

Revised April 07, 2009

Revised April 23, 2013

Revised May 14, 2013

Revised October 28, 2013

Revised June 21, 2022

Revised July 26, 2023 (attach)

SB 610 amended Section 21151.9 of the California Public Resources Code, and amended Sections 10631, 10656, 10910, 10911, 10912, and 10915, repealed Section 10913, and added and amended Section 10657 of the Water Code.  SB 610 was approved by California Governor Gray Davis and filed with the Secretary of State on October 9, 2001.

Imperial County General Plan, Land Use Element 2008 Update

USBR website: Yuma Project.  PVID contacted Chris Pratt April  2024.

IID Annual Inventory of Areas Receiving Water Years 2024, 2023, 2022

From 1/1/1990-3/23/2004, 3 CIMIS stations: Seeley, Calipatria/Mulberry, Meloland; 3/24/2004-7/5/2009, 4 CIMIS stations (added Westmorland N.); 7/6/2009-12/1/2009, 3 CIMIS stations: Westmorland N. offline; 12/2/2009-2/31/2009, 4 CIMIS stations, Westmorland N. back online; 1/1/2010-9/20/2010.

2023 Imperial County Crop and Livestock Report

October 2012 Imperial Integrated Regional Water Management Plan, Chapter 12.

IID website: Municipal, Industrial and Commercial Customers.

IID website: Temporary Land Conversion Fallowing Policy (TLCFP), and The TLCFP are the sources of the text for this section.

Priorities 1, 2, 3(b), 6(b), and 7 of current Section 5 Contracts for the delivery of Colorado River water in the State of California and Indian and miscellaneous Present Perfected Rights within the State of California and other existing surplus water contracts are not affected by the QSA Agreement.

CRWDA: Federal QSA accessed 7 June 2017.

When water levels in the Colorado River reservoirs are low, Priority 5, 6 and 7 apportionments are not available for diversion.

USBR, 2003 CRWDA ROD Implementation Agreement, IOPP and Related Federal Actions Final EIS. Section IX. Implementing the Decision A. Inadvertent Overrun and Payback Policy. Pages 16-19 of 34.

2003 CRWDA ROD. Section IX. A.6.c,, page 18 of 34.

Water Year: October 1 through September 30 of following year, so water year ending September 30, 1999

USBR Colorado River Interim Guidelines for Lower Basin Shortages and Coordinated Operations for Lake Powell and Lake Mead <http://www.usbr.gov/lc/region/programs/strategies.html>

USBR Colorado River Interim Guidelines for Lower Basin Shortages and Coordinated Operations for Lake Powell and Lake Mead.

2014 Imperial Irrigation District Letter Agreement for Substitution and Conservation Modifications to the IID/MWD Water Conservation Agreement - December 17, 2014.

Complete the Application for Temporary Water Use and submit to Division office. Complete encroachment permit through Real Estate – non-refundable application fee of $250, se.  IID website: Real Estate / Encroachments, Permissions, and Other Permitting. Fee for temporary service water: Schedule No. 7 General Industrial Use / Temporary Service Minimum charge for up to 5 AF, pay full flat fee for 5 AF at General Industrial Use rate ($425); use more than 5 AF, pay fee for actual use at General Industrial Rate ($85/AF).

IRWMP, Chapter 5, Table 5-14.

IID Board Resolution 31-2009. Interim Water Supply Policy for New Non-Agricultural Projects. September 29, 2009. < IID Interim Water Supply Policy for Non-Agricultural Projects>

The 2009 Draft IID IWRMP has been superseded by the October 2012 Imperial IRWMP, which incorporates the conditions of the IWSP by reference.

The most recent fee schedules can be found in a link at IID/Water/ Municipal, Industrial and Commercial Customers; or visit by URL at Imperial Irrigation District : Water Rate Schedules

Equitable Distribution Plan documents. July 26, 2023 https://www.iid.com/water/rules-and-regulations/equitable-distribution